# Supplementary Information

Efficient modes, not load shifting, deliver most of the grid value of flexible AI computing

William Wei1,2,*, Lanlan Liu (刘岚岚)3 — 1 School of Computer Science, Faculty of Engineering and Physical Sciences, University of Leeds, Leeds, UK; 2 Spatial Computing (Fujian) Technology Co., Ltd., Fuzhou, China; 3 School of Public Administration, Fujian Normal University, Fuzhou, China; * qkfp0742@leeds.ac.uk

Supplementary Information v1.4, 17 September 2026. Base case: idle power 41% of nameplate; 25% is a sensitivity. Metric: total incremental system cost for the same computing work (EUR per representative week, expected over four weeks); reductions are relative to rigid full-speed operation (S0); shifting value is (cost S0e − cost S2)/cost S2. Full-precision, machine-readable versions of every table are provided as Supplementary Data 1 (spreadsheet, one sheet per table) and in the code repository under outputs/research/tables/.

Column key (Tables S7–S12). cost_X: incremental system cost under scenario X, i.e. total expected system cost with the AI pool minus that without it (EUR per representative week). red_A_B_pct = (1 − cost B / cost A) × 100. gap_A_B_pct = (cost A / cost B − 1) × 100. share_S1 = (cost S0 − cost S1)/(cost S0 − cost S2), the share of total coordination value captured by the tariff-driven firm. timing_share_X = (cost S0e − cost X)/(cost S0e − cost S2), the share of shifting value realised by scenario X (negative when shifting raises cost above no-shifting operation). ai_mwh_X: AI pool energy under scenario X (MWh per representative week). new_ocgt_X, new_batt_X: new open-cycle gas-turbine and battery capacity (MW) relative to the reference without AI. curtail_NOAI: curtailment share in the reference without AI. idle: idle power as a fraction of nameplate. ai_share: AI pool as a share of the 2030 provincial peak; slack_mult: multiplier on observed queueing wait in the deadline (1 or 3); export: interprovincial exchange allowed. In Table S12, system_cost_X is the total system cost and savings are in EUR per representative week.

## S1. Data registry

| id | dataset | url | evidence_type | licence | status | limits |
| --- | --- | --- | --- | --- | --- | --- |
| D01 | Emerald AI May 2025 experiment | https://github.com/ai-emerald/emerald-ai-demo-may-2025 | published_experimental_data | Apache-2.0 repository licence | downloaded_reanalysed | GPU-only modes; timestamp/aggregate conflicts; no independent repeated runs or complete service logs |
| D02 | China 2018 provincial hourly load | https://doi.org/10.5281/zenodo.8322210 | reconstructed_historical_load | CC-BY-4.0 | checksums_verified_column_mapping_verified | daily-extrema typical-profile reconstruction; not current metered load |
| D03 | China interprovincial transmission | https://doi.org/10.5281/zenodo.8322210 | compiled_infrastructure | CC-BY-4.0 | quarantined_pending_asset_checks | sheet classifications reversed vs appendix; 3 matrix/list edge conflicts; aliases and endpoints unresolved |
| D04 | PyPSA-China model and assumptions | https://github.com/PyPSA/PyPSA-China | code_and_derived_inputs | MIT code; per-input licences need checking | repository_downloaded_load_provenance_traced | load shares historical origin with D02; not independent validation; default future load scaled shape |
| D05 | Dunlap capacity-adequacy source model | https://github.com/ctdunlap32/data-center-flexibility-resource-adequacy | author_code_manuscript_processed_inputs | MIT code; upstream data licences separate | method_inspected_not_reproduced | exogenous ELCC and partially unobserved assumptions; author manuscript is not Nature publication |
| D06 | Azure LLM inference trace 2024 | https://github.com/Azure/AzurePublicDataset/blob/master/AzureLLMInferenceDataset2024.md | production_request_metadata | CC-BY-4.0 | schema_license_release_sizes_inspected_not_downloaded | invocation and token lengths only; no deadlines or GPU power; code 692 MB, conversation 1135 MB |
| A01 | Two-block diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | not production workloads or grid results |
| A02 | Sequential-task diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | uniform arrivals; assumed deadline and idle power; no grid or switching cost |
| D07 | BurstGPT release v2.0 part 1 | https://github.com/HPMLL/BurstGPT/releases/tag/v2.0 | production_request_metadata | CC-BY-4.0 | download_digest_verified_schema_and_hourly_audit_complete | no deadlines, elapsed time, request IDs or power; retain repeated metadata and zero-output records |
| D08 | PyPSA-China V3.0 selected archive members | https://doi.org/10.5281/zenodo.13987282 | published_model_inputs | CC-BY-4.0 record; verify upstream embedded sources before redistribution | member_crc_size_verified_and_inputs_audited | not a calibrated base year; source-model totals and official statistics differ; hydro leapday missing; reservoir subsystem separate |
| D09 | 2020 national power reliability annual report | https://prpq.nea.gov.cn/uploads/file1/20211009/616107fe94a8e.pdf | official_aggregate_reliability_statistics | public official report; reuse facts with attribution | PDF_obtained_three_tables_extracted_with_sum_checks | not chronological outage telemetry; unplanned/forced/availability metrics differ; unit-year exposure definitions require checking |
| D10 | DynamoLLM HPCA 2025 published experiment | https://jovans2.github.io/files/DynamoLLM_HPCA2025.pdf | published_experimental_methods_and_aggregate_tables | author-hosted paper; numeric facts attributed; no PDF redistribution planned | PDF_obtained_tables_and_methods_inspected | raw power/performance profiling dataset not obtained; cannot treat example SLOs as BurstGPT observed deadlines |
| A03 | Fixed commitment operational cost scenarios | local analysis | analyst_assumptions_with_measured_modes | original analysis | implemented_analytic_dual_and_convexity_checks_passed | assumed tariffs, arrivals, deadlines, idle power; no observed company costs or grid value |
| D11 | GEM Global Integrated Power Tracker July 2025 China subset | https://doi.org/10.5281/zenodo.16810831 | compiled_unit_phase_inventory | CC-BY-4.0 confirmed About sheet | download_checksum_verified_unit_ID_and_date_completeness_audited | tracking thresholds, unknown dates, conversions and historical retired coverage require reconciliation; not complete official historical fleet |
| D12 | Alibaba PAI GPU cluster trace 2020 (NSDI 22) | https://github.com/alibaba/clusterdata/tree/master/cluster-trace-gpu-v2020 | production_job_task_instance_metadata_and_instance_average_sensors | CC-BY-4.0 (repository LICENSE) | downloaded_extracted_sha256_recorded_audit_complete | no deadlines, no power; plan_gpu is requested not used; wait = scheduling latency only; dates fake |
| D13 | SenseTime Helios GPU cluster traces (SC 21) | https://github.com/S-Lab-System-Group/HeliosData | production_slurm_job_metadata | see LICENSE.txt in release (Apache-2.0 text) | downloaded_sha256_verified_audit_complete | no power or utilisation; queue is observed scheduling wait not a deadline; 39% of GPU-hours in CANCELLED jobs |
| D14 | Microsoft Philly DL training trace (ATC 19) | https://github.com/msr-fiddle/philly-traces | production_job_log_and_per_minute_gpu_utilisation | CC-BY-4.0 (repository LICENSE) | downloaded_via_lfs_sha256_recorded_job_log_and_streamed_utilisation_audit_complete | 2017 hardware; per-GPU per-minute utilisation with variable columns (DST duplicate rows truncated to first 8 values); 68% of GPU-hours in Failed/Killed jobs; no deadlines |
| A04 | Region selection matrix | local analysis | screening_table_from_archive_and_official_inputs | original analysis | built | archive capacities unverified; Gansu large hydro absent from archive; Inner Mongolia grid split |
| A05 | Regional S0/S0b/S1/S2 smoke grid | local analysis | uncalibrated_regional_smoke_test | original analysis | pipeline_verified_results_not_empirical | unvalidated hourly load shape; archive capacities; placeholder tariff and external market; no unit commitment or coal minimum load |
| D15 | Jiangsu grid 2020-2022 T&D and retail tariff notice (苏发改价格发〔2020〕1183号) incl. industrial TOU table | https://www.njqxq.gov.cn/qxqrmzf/qxqfzhggj/202011/P020201111396651530459.pdf | official_tariff_document_scanned_pdf | public government document | pdf_saved_pages_read_values_transcribed | scanned images, transcribed by reading; 2021 effective date used for 2020 base year; market users pay market price + T&D |
| D16 | Gansu 2020-12 notice on retail tariff adjustment and TOU optimisation (policy interpretation page) | http://www.gansu.gov.cn/art/2020/12/3/art_10359_474921.html | official_policy_interpretation_web_page | public government page | mirror_page_fetched_values_transcribed | original gansu.gov.cn page returned HTTP 412 to fetch; mirror gsei.com.cn used; ratios not absolute prices |
| D17 | Guizhou TOU mechanism notice 黔发改价格〔2023〕481号 | https://fgw.guizhou.gov.cn/zwgk/zcwj/zcwj/202306/t20230628_80566840.html | official_notice_web_page | public government page | page_fetched_values_transcribed | 2023 rules used as nearest official structure; no 2020 Guizhou TOU document obtained; year mismatch flagged |
| A06 | GEM-based unit-level 2020/2030 fleets for Gansu, Jiangsu, Guizhou | local analysis of D11 | derived_unit_inventory | CC-BY-4.0 upstream | built_compared_with_archive | GEM size thresholds (lower bound vs official); unknown start years excluded; pre-construction listed separately |
| A07 | Provincial 2030 S0/S1/S2/S3 scenario runs | local analysis | public_data_scenario_with_documented_assumptions | original analysis | pipeline_run_results_labelled_scenario_not_calibrated | hourly load shape unvalidated (2018-derived); external-market proxy; committed-capacity must-run heuristic; RE existing = 2020 archive; no new coal; S3 event rule = >20% above weekly median marginal cost |
| D18 | MLPerf Training v4.0 AC power logs (Supermicro 8xH100, llama2_70b_lora) | https://github.com/mlcommons/training_results_v4.0/tree/main/smc-ac-power | published_benchmark_power_measurements | MLCommons results repository (Apache-2.0) | downloaded_parsed_idle_active_extracted_three_benchmarks | node-level incl. non-GPU components; benchmark workloads; one run per benchmark |
| D19 | Open-Meteo historical weather API (ERA5-based) hourly 2015-2024 at GEM wind/solar sites | https://archive-api.open-meteo.com/v1/archive | reanalysis_weather_free_api | CC-BY 4.0 (Open-Meteo; ERA5 Copernicus) | pulled_cached_converted_to_capacity_factors | simple power-curve and GHI conversions; level scaled to archive 2020 mean; not measured generation |

## S2. Model verification records

Joint planning–operation LP: 118 checks in total, of which 100 are independent oracle cases (60 screening-curve capacity cases, 40 enumerated task-assignment cases); reservoir-cascade extension: 74 checks, of which 60 are independent dynamic-programming cases; task model: 120 exhaustive assignment oracles and 256 diagnostic cases; commitment-cost model: 72 frontiers, 360 points, dual and finite-difference checks.

## S3. MLPerf Training v4.0 node power (8×H100 nodes)

| benchmark | nodes | idle_kW | active_kW | max_kW | idle_over_max |
| --- | --- | --- | --- | --- | --- |
| llama2_70b_lora | 8 | 2.647 | 6.25 | 6.42 | 0.412 |
| resnet | 8 | 2.24 | 5.859 | 5.933 | 0.378 |
| ssd | 8 | 2.235 | 6.277 | 6.372 | 0.351 |

## S4. GEM-based 2020 and 2030 fleets, three provinces (MW)

| province | type | mw_2020 | units_2020 | mw_2030_operating_plus_construction | units_2030 | mw_2030_preconstruction_announced |
| --- | --- | --- | --- | --- | --- | --- |
| Gansu | coal | 21630 | 61 | 33650 | 75 | 2000 |
| Gansu | oil/gas | 180 | 1 | 180 | 1 | 0 |
| Gansu | nuclear | 0 | 0 | 0 | 0 | 0 |
| Gansu | hydropower | 5514 | 34 | 8094 | 36 | 0 |
| Gansu | wind | 12798.4 | 111 | 28451.6 | 215 | 200 |
| Gansu | solar | 8632.1 | 286 | 24919.9 | 407 | 0 |
| Jiangsu | coal | 75804 | 199 | 92481 | 221 | 2700 |
| Jiangsu | oil/gas | 17542 | 73 | 24779 | 108 | 0 |
| Jiangsu | nuclear | 5490 | 5 | 9138 | 8 | 0 |
| Jiangsu | hydropower | 2600 | 3 | 3950 | 5 | 1200 |
| Jiangsu | wind | 13261.2 | 136 | 21955.2 | 179 | 0 |
| Jiangsu | solar | 9303.6 | 1283 | 11198 | 1301 | 0 |
| Guizhou | coal | 31860 | 75 | 41890 | 95 | 2210 |
| Guizhou | oil/gas | 0 | 0 | 0 | 0 | 0 |
| Guizhou | nuclear | 0 | 0 | 0 | 0 | 0 |
| Guizhou | hydropower | 16735 | 39 | 18235 | 40 | 0 |
| Guizhou | wind | 4807.5 | 95 | 6626.1 | 123 | 100 |
| Guizhou | solar | 9095 | 128 | 21149.5 | 236 | 0 |

## S5. Peak-load plausibility check

| province | anchored_2020_peak_MW | official_reference | reference_value_MW | status |
| --- | --- | --- | --- | --- |
| Jiangsu | 109,828 | 2020 年夏季与冬季最高调度负荷均突破 1 亿千瓦（国网江苏，2021-01 报道） | >100000 | consistent in magnitude; exact value not obtained |
| Gansu | 19679 | 2021 年全网最大用电负荷 1766 万千瓦（北极星电力网转载） | 17660 | anchored 2020 peak exceeds 2021 official peak by ~11% |
| Guizhou | 31255 | 贵州电网统调负荷 2026-01 首次突破 3000 万千瓦（央广网）；2025 年底最高 2955.3 万千瓦 | <30000 in 2020 | anchored 2020 peak exceeds the 2026 record; 2020 peak must have been well below 31.3 GW |

## S6. Multi-year renewable profiles: site coverage and agreement with archive 2020 profiles

| province_tech | level_scale | corr_with_archive_2020 | top_site_capacity_share | n_operating_sites |
| --- | --- | --- | --- | --- |
| Gansu / solar | 0.955 | 0.936 | 0.254 | 442 |
| Gansu / wind | 1.16 | 0.66 | 0.303 | 217 |
| Guizhou / solar | 0.711 | 0.956 | 0.227 | 227 |
| Guizhou / wind | 2.391 | 0.954 | 0.266 | 125 |
| Jiangsu / solar | 0.973 | 0.967 | 0.274 | 1704 |
| Jiangsu / wind | 0.901 | 0.805 | 0.305 | 187 |

## S7. 2030 scenario results, islanded (export = False) and fixed-price exchange proxy (export = True), idle 41%

### S7a. Incremental system cost by scenario (EUR per representative week)

| province | export | ai_share | slack_mult | cost_S0 | cost_S0e | cost_S1 | cost_S3 | cost_S1rt | cost_S2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | False | 0.05 | 1 | 4,716,346 | 4,081,179 | 4,101,238 | 4,101,238 | 4,077,055 | 4,075,821 |
| Gansu | False | 0.05 | 3 | 4,716,346 | 3,757,311 | 3,781,838 | 3,781,838 | 3,753,656 | 3,753,117 |
| Gansu | False | 0.1 | 1 | 9,391,522 | 8,113,527 | 8,157,286 | 8,157,286 | 8,110,767 | 8,106,916 |
| Gansu | False | 0.1 | 3 | 9,391,522 | 7,461,038 | 7,510,092 | 7,510,092 | 7,459,868 | 7,453,211 |
| Gansu | False | 0.2 | 1 | 18,494,780 | 15,929,656 | 16,017,524 | 16,017,524 | 15,924,103 | 15,917,783 |
| Gansu | False | 0.2 | 3 | 18,494,780 | 14,606,454 | 14,705,016 | 14,705,016 | 14,604,649 | 14,592,950 |
| Gansu | True | 0.05 | 1 | 5,093,788 | 4,419,542 | 4,439,700 | 4,439,700 | 4,416,253 | 4,416,168 |
| Gansu | True | 0.05 | 3 | 5,093,788 | 4,070,916 | 4,095,626 | 4,095,626 | 4,068,188 | 4,068,156 |
| Gansu | True | 0.1 | 1 | 10,184,505 | 8,834,452 | 8,875,171 | 8,875,171 | 8,828,409 | 8,828,313 |
| Gansu | True | 0.1 | 3 | 10,184,505 | 8,137,469 | 8,185,936 | 8,185,936 | 8,131,902 | 8,131,208 |
| Gansu | True | 0.2 | 1 | 20,352,157 | 17,651,024 | 17,731,532 | 17,731,532 | 17,638,367 | 17,638,290 |
| Gansu | True | 0.2 | 3 | 20,352,157 | 16,258,282 | 16,352,857 | 16,352,857 | 16,244,905 | 16,244,482 |
| Guizhou | False | 0.05 | 1 | 6,406,987 | 5,585,695 | 5,557,422 | 5,578,925 | 5,517,965 | 5,503,164 |
| Guizhou | False | 0.05 | 3 | 6,406,987 | 5,131,669 | 5,136,342 | 5,155,081 | 5,066,188 | 5,056,744 |
| Guizhou | False | 0.1 | 1 | 12,737,351 | 10,999,516 | 10,959,127 | 10,962,125 | 10,882,236 | 10,850,800 |
| Guizhou | False | 0.1 | 3 | 12,737,351 | 10,074,534 | 10,089,706 | 10,118,625 | 9,972,867 | 9,937,528 |
| Guizhou | False | 0.2 | 1 | 25,007,943 | 21,243,656 | 21,221,539 | 21,221,539 | 21,120,171 | 20,999,481 |
| Guizhou | False | 0.2 | 3 | 25,007,943 | 19,339,271 | 19,366,970 | 19,582,761 | 19,233,822 | 19,087,095 |
| Guizhou | True | 0.05 | 1 | 8,264,055 | 7,163,267 | 7,198,604 | 7,198,604 | 7,159,400 | 7,159,202 |
| Guizhou | True | 0.05 | 3 | 8,264,055 | 6,598,262 | 6,625,980 | 6,625,980 | 6,594,357 | 6,594,258 |
| Guizhou | True | 0.1 | 1 | 16,384,621 | 14,191,353 | 14,265,554 | 14,265,554 | 14,186,077 | 14,185,069 |
| Guizhou | True | 0.1 | 3 | 16,384,621 | 13,065,919 | 13,125,223 | 13,125,223 | 13,061,256 | 13,060,137 |
| Guizhou | True | 0.2 | 1 | 32,220,264 | 27,863,288 | 28,028,551 | 28,028,551 | 27,861,604 | 27,858,980 |
| Guizhou | True | 0.2 | 3 | 32,220,264 | 25,621,877 | 25,755,850 | 25,755,850 | 25,621,578 | 25,619,232 |
| Jiangsu | False | 0.05 | 1 | 28,905,044 | 24,712,571 | 24,779,466 | 24,772,013 | 24,610,641 | 24,597,050 |
| Jiangsu | False | 0.05 | 3 | 28,905,044 | 22,667,442 | 22,680,700 | 22,680,700 | 22,517,787 | 22,504,657 |
| Jiangsu | False | 0.1 | 1 | 60,564,006 | 51,315,483 | 51,448,812 | 51,744,240 | 51,168,598 | 51,100,438 |
| Jiangsu | False | 0.1 | 3 | 60,564,006 | 46,798,303 | 46,744,502 | 46,734,867 | 46,464,921 | 46,404,857 |
| Jiangsu | False | 0.2 | 1 | 140,005,403 | 116,358,518 | 118,347,943 | 118,850,619 | 113,102,184 | 111,481,799 |
| Jiangsu | False | 0.2 | 3 | 140,005,403 | 101,190,396 | 101,560,918 | 101,615,317 | 102,603,733 | 100,048,295 |
| Jiangsu | True | 0.05 | 1 | 26,801,003 | 23,195,195 | 23,319,371 | 23,319,371 | 23,183,959 | 23,181,802 |
| Jiangsu | True | 0.05 | 3 | 26,801,003 | 21,354,049 | 21,452,284 | 21,452,284 | 21,337,164 | 21,335,366 |
| Jiangsu | True | 0.1 | 1 | 54,086,719 | 46,771,340 | 47,027,907 | 47,027,907 | 46,752,940 | 46,745,368 |
| Jiangsu | True | 0.1 | 3 | 54,086,719 | 43,018,531 | 43,217,892 | 43,217,892 | 42,981,138 | 42,973,250 |
| Jiangsu | True | 0.2 | 1 | 109,499,873 | 94,653,841 | 95,205,981 | 95,205,981 | 94,633,015 | 94,623,243 |
| Jiangsu | True | 0.2 | 3 | 109,499,873 | 87,007,025 | 87,445,255 | 87,445,255 | 86,982,402 | 86,969,565 |

### S7b. Reductions, gaps and realised shares

| province | export | ai_share | slack_mult | red_S0_S2_pct | red_S0_S0e_pct | gap_S0e_S2_pct | share_S1 | timing_share_S1 | timing_share_S1rt | gap_S1rt_S2_pct |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | False | 0.05 | 1 | 13.581 | 13.467 | 0.131 | 0.96 | -3.744 | 0.77 | 0.03 |
| Gansu | False | 0.05 | 3 | 20.423 | 20.334 | 0.112 | 0.97 | -5.848 | 0.872 | 0.014 |
| Gansu | False | 0.1 | 1 | 13.678 | 13.608 | 0.082 | 0.961 | -6.619 | 0.417 | 0.048 |
| Gansu | False | 0.1 | 3 | 20.639 | 20.556 | 0.105 | 0.971 | -6.268 | 0.15 | 0.089 |
| Gansu | False | 0.2 | 1 | 13.934 | 13.869 | 0.075 | 0.961 | -7.4 | 0.468 | 0.04 |
| Gansu | False | 0.2 | 3 | 21.097 | 21.024 | 0.093 | 0.971 | -7.299 | 0.134 | 0.08 |
| Gansu | True | 0.05 | 1 | 13.303 | 13.237 | 0.076 | 0.965 | -5.975 | 0.975 | 0.002 |
| Gansu | True | 0.05 | 3 | 20.135 | 20.081 | 0.068 | 0.973 | -8.953 | 0.989 | 0.001 |
| Gansu | True | 0.1 | 1 | 13.316 | 13.256 | 0.07 | 0.965 | -6.633 | 0.984 | 0.001 |
| Gansu | True | 0.1 | 3 | 20.161 | 20.1 | 0.077 | 0.973 | -7.742 | 0.889 | 0.009 |
| Gansu | True | 0.2 | 1 | 13.335 | 13.272 | 0.072 | 0.966 | -6.322 | 0.994 | 0 |
| Gansu | True | 0.2 | 3 | 20.183 | 20.115 | 0.085 | 0.974 | -6.853 | 0.969 | 0.003 |
| Guizhou | False | 0.05 | 1 | 14.107 | 12.819 | 1.5 | 0.94 | 0.343 | 0.821 | 0.269 |
| Guizhou | False | 0.05 | 3 | 21.075 | 19.905 | 1.482 | 0.941 | -0.062 | 0.874 | 0.187 |
| Guizhou | False | 0.1 | 1 | 14.811 | 13.644 | 1.371 | 0.943 | 0.272 | 0.789 | 0.29 |
| Guizhou | False | 0.1 | 3 | 21.981 | 20.906 | 1.379 | 0.946 | -0.111 | 0.742 | 0.356 |
| Guizhou | False | 0.2 | 1 | 16.029 | 15.052 | 1.163 | 0.945 | 0.091 | 0.506 | 0.575 |
| Guizhou | False | 0.2 | 3 | 23.676 | 22.667 | 1.321 | 0.953 | -0.11 | 0.418 | 0.769 |
| Guizhou | True | 0.05 | 1 | 13.369 | 13.32 | 0.057 | 0.964 | -8.692 | 0.951 | 0.003 |
| Guizhou | True | 0.05 | 3 | 20.206 | 20.157 | 0.061 | 0.981 | -6.924 | 0.975 | 0.001 |
| Guizhou | True | 0.1 | 1 | 13.424 | 13.386 | 0.044 | 0.963 | -11.809 | 0.84 | 0.007 |
| Guizhou | True | 0.1 | 3 | 20.29 | 20.255 | 0.044 | 0.98 | -10.256 | 0.806 | 0.009 |
| Guizhou | True | 0.2 | 1 | 13.536 | 13.522 | 0.015 | 0.961 | -38.367 | 0.391 | 0.009 |
| Guizhou | True | 0.2 | 3 | 20.487 | 20.479 | 0.01 | 0.979 | -50.657 | 0.113 | 0.009 |
| Jiangsu | False | 0.05 | 1 | 14.904 | 14.504 | 0.47 | 0.958 | -0.579 | 0.882 | 0.055 |
| Jiangsu | False | 0.05 | 3 | 22.143 | 21.58 | 0.723 | 0.972 | -0.081 | 0.919 | 0.058 |
| Jiangsu | False | 0.1 | 1 | 15.626 | 15.271 | 0.421 | 0.963 | -0.62 | 0.683 | 0.133 |
| Jiangsu | False | 0.1 | 3 | 23.379 | 22.729 | 0.848 | 0.976 | 0.137 | 0.847 | 0.129 |
| Jiangsu | False | 0.2 | 1 | 20.373 | 16.89 | 4.374 | 0.759 | -0.408 | 0.668 | 1.453 |
| Jiangsu | False | 0.2 | 3 | 28.54 | 27.724 | 1.142 | 0.962 | -0.324 | -1.237 | 2.554 |
| Jiangsu | True | 0.05 | 1 | 13.504 | 13.454 | 0.058 | 0.962 | -9.272 | 0.839 | 0.009 |
| Jiangsu | True | 0.05 | 3 | 20.393 | 20.324 | 0.088 | 0.979 | -5.258 | 0.904 | 0.008 |
| Jiangsu | True | 0.1 | 1 | 13.573 | 13.525 | 0.056 | 0.962 | -9.879 | 0.708 | 0.016 |
| Jiangsu | True | 0.1 | 3 | 20.548 | 20.464 | 0.105 | 0.978 | -4.403 | 0.826 | 0.018 |
| Jiangsu | True | 0.2 | 1 | 13.586 | 13.558 | 0.032 | 0.961 | -18.045 | 0.681 | 0.01 |
| Jiangsu | True | 0.2 | 3 | 20.576 | 20.541 | 0.043 | 0.979 | -11.699 | 0.657 | 0.015 |

### S7c. AI energy and new capacity

| province | export | ai_share | slack_mult | ai_mwh_S0 | ai_mwh_S2 | new_ocgt_S0 | new_ocgt_S2 | new_batt_S0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | False | 0.05 | 1 | 172,282 | 149,992 | 0 | 0 | 0 |
| Gansu | False | 0.05 | 3 | 172,282 | 138,555 | 0 | 0 | 0 |
| Gansu | False | 0.1 | 1 | 344,564 | 299,590 | 0 | 0 | 0 |
| Gansu | False | 0.1 | 3 | 344,564 | 276,421 | 0 | 0 | 0 |
| Gansu | False | 0.2 | 1 | 689,127 | 598,274 | 0 | 0 | 0 |
| Gansu | False | 0.2 | 3 | 689,127 | 551,319 | 0 | 0 | 0 |
| Gansu | True | 0.05 | 1 | 172,282 | 149,564 | 0 | 0 | 0 |
| Gansu | True | 0.05 | 3 | 172,282 | 137,710 | 0 | 0 | 0 |
| Gansu | True | 0.1 | 1 | 344,564 | 299,028 | 0 | 0 | 0 |
| Gansu | True | 0.1 | 3 | 344,564 | 275,372 | 0 | 0 | 0 |
| Gansu | True | 0.2 | 1 | 689,127 | 597,887 | 0 | 0 | 0 |
| Gansu | True | 0.2 | 3 | 689,127 | 550,653 | 0 | 0 | 0 |
| Guizhou | False | 0.05 | 1 | 289,389 | 260,341 | 0 | 0 | 0 |
| Guizhou | False | 0.05 | 3 | 289,389 | 246,129 | 0 | 0 | 0 |
| Guizhou | False | 0.1 | 1 | 578,779 | 517,361 | 0 | 0 | 0 |
| Guizhou | False | 0.1 | 3 | 578,779 | 488,041 | 0 | 0 | 0 |
| Guizhou | False | 0.2 | 1 | 1,157,558 | 1,022,775 | 0 | 0 | 0 |
| Guizhou | False | 0.2 | 3 | 1,157,558 | 958,617 | 0 | 0 | 0 |
| Guizhou | True | 0.05 | 1 | 289,389 | 251,072 | 0 | 0 | 0 |
| Guizhou | True | 0.05 | 3 | 289,389 | 231,239 | 0 | 0 | 0 |
| Guizhou | True | 0.1 | 1 | 578,779 | 502,144 | 0 | 0 | 0 |
| Guizhou | True | 0.1 | 3 | 578,779 | 462,478 | 0 | 0 | 0 |
| Guizhou | True | 0.2 | 1 | 1,157,558 | 1,004,288 | 0 | 0 | 0 |
| Guizhou | True | 0.2 | 3 | 1,157,558 | 924,956 | 0 | 0 | 0 |
| Jiangsu | False | 0.05 | 1 | 896,015 | 777,748 | 0 | 0 | 0 |
| Jiangsu | False | 0.05 | 3 | 896,015 | 715,968 | 0 | 0 | 0 |
| Jiangsu | False | 0.1 | 1 | 1,792,029 | 1,555,066 | 0 | 0 | 165.982 |
| Jiangsu | False | 0.1 | 3 | 1,792,029 | 1,431,936 | 0 | 0 | 165.982 |
| Jiangsu | False | 0.2 | 1 | 3,584,059 | 3,118,654 | 9498.094 | 591.061 | 969.722 |
| Jiangsu | False | 0.2 | 3 | 3,584,059 | 2,870,654 | 9498.094 | 0 | 969.722 |
| Jiangsu | True | 0.05 | 1 | 896,015 | 777,375 | 0 | 0 | 0 |
| Jiangsu | True | 0.05 | 3 | 896,015 | 715,968 | 0 | 0 | 0 |
| Jiangsu | True | 0.1 | 1 | 1,792,029 | 1,554,750 | 0 | 0 | 0 |
| Jiangsu | True | 0.1 | 3 | 1,792,029 | 1,431,936 | 0 | 0 | 0 |
| Jiangsu | True | 0.2 | 1 | 3,584,059 | 3,109,500 | 0 | 0 | 0 |
| Jiangsu | True | 0.2 | 3 | 3,584,059 | 2,863,872 | 0 | 0 | 0 |

## S8. 2030 scenario results, neighbour-aggregate exchange node (export = True rows), idle 41%

### S8a. Incremental system cost by scenario (EUR per representative week)

| province | ai_share | slack_mult | cost_S0 | cost_S0e | cost_S1 | cost_S3 | cost_S1rt | cost_S2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | 0.05 | 1 | 4,790,243 | 4,160,773 | 4,179,565 | 4,179,565 | 4,155,356 | 4,155,344 |
| Gansu | 0.05 | 3 | 4,790,243 | 3,836,905 | 3,864,010 | 3,864,010 | 3,832,843 | 3,832,843 |
| Gansu | 0.1 | 1 | 9,578,732 | 8,319,781 | 8,357,807 | 8,357,807 | 8,311,059 | 8,309,365 |
| Gansu | 0.1 | 3 | 9,578,732 | 7,672,038 | 7,726,246 | 7,726,246 | 7,663,942 | 7,663,934 |
| Gansu | 0.2 | 1 | 19,148,256 | 16,635,459 | 16,713,269 | 16,713,269 | 16,616,220 | 16,616,145 |
| Gansu | 0.2 | 3 | 19,148,256 | 15,334,546 | 15,442,977 | 15,442,977 | 15,320,840 | 15,320,114 |
| Guizhou | 0.05 | 1 | 7,957,847 | 6,917,865 | 6,939,766 | 6,939,766 | 6,906,688 | 6,906,486 |
| Guizhou | 0.05 | 3 | 7,957,847 | 6,377,242 | 6,404,402 | 6,404,402 | 6,358,127 | 6,357,912 |
| Guizhou | 0.1 | 1 | 15,912,304 | 13,822,922 | 13,868,325 | 13,868,325 | 13,802,506 | 13,800,894 |
| Guizhou | 0.1 | 3 | 15,912,304 | 12,738,025 | 12,792,399 | 12,792,399 | 12,703,082 | 12,699,252 |
| Guizhou | 0.2 | 1 | 31,796,779 | 27,576,531 | 27,673,179 | 27,673,179 | 27,541,847 | 27,537,910 |
| Guizhou | 0.2 | 3 | 31,796,779 | 25,395,318 | 25,504,306 | 25,504,306 | 25,336,671 | 25,324,864 |
| Jiangsu | 0.05 | 1 | 25,357,177 | 21,990,421 | 22,116,628 | 22,116,628 | 21,986,826 | 21,986,396 |
| Jiangsu | 0.05 | 3 | 25,357,177 | 20,250,776 | 20,352,469 | 20,352,469 | 20,246,219 | 20,245,767 |
| Jiangsu | 0.1 | 1 | 50,791,070 | 44,044,923 | 44,295,969 | 44,295,969 | 44,038,246 | 44,036,425 |
| Jiangsu | 0.1 | 3 | 50,791,070 | 40,552,024 | 40,752,646 | 40,752,646 | 40,539,961 | 40,539,502 |
| Jiangsu | 0.2 | 1 | 101,894,177 | 88,322,269 | 88,822,356 | 88,822,356 | 88,307,976 | 88,302,467 |
| Jiangsu | 0.2 | 3 | 101,894,177 | 81,305,696 | 81,713,472 | 81,713,472 | 81,280,684 | 81,276,226 |

### S8b. Reductions, gaps and realised shares

| province | ai_share | slack_mult | red_S0_S2_pct | red_S0_S0e_pct | gap_S0e_S2_pct | share_S1 | timing_share_S1 | timing_share_S1rt | gap_S1rt_S2_pct |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | 0.05 | 1 | 13.254 | 13.141 | 0.131 | 0.962 | -3.461 | 0.998 | 0 |
| Gansu | 0.05 | 3 | 19.986 | 19.902 | 0.106 | 0.967 | -6.672 | 1 | 0 |
| Gansu | 0.1 | 1 | 13.252 | 13.143 | 0.125 | 0.962 | -3.651 | 0.837 | 0.02 |
| Gansu | 0.1 | 3 | 19.99 | 19.905 | 0.106 | 0.967 | -6.69 | 0.999 | 0 |
| Gansu | 0.2 | 1 | 13.224 | 13.123 | 0.116 | 0.962 | -4.029 | 0.996 | 0 |
| Gansu | 0.2 | 3 | 19.992 | 19.917 | 0.094 | 0.968 | -7.513 | 0.95 | 0.005 |
| Guizhou | 0.05 | 1 | 13.212 | 13.069 | 0.165 | 0.968 | -1.925 | 0.982 | 0.003 |
| Guizhou | 0.05 | 3 | 20.105 | 19.862 | 0.304 | 0.971 | -1.405 | 0.989 | 0.003 |
| Guizhou | 0.1 | 1 | 13.269 | 13.131 | 0.16 | 0.968 | -2.061 | 0.927 | 0.012 |
| Guizhou | 0.1 | 3 | 20.192 | 19.949 | 0.305 | 0.971 | -1.402 | 0.901 | 0.03 |
| Guizhou | 0.2 | 1 | 13.394 | 13.273 | 0.14 | 0.968 | -2.502 | 0.898 | 0.014 |
| Guizhou | 0.2 | 3 | 20.354 | 20.132 | 0.278 | 0.972 | -1.547 | 0.832 | 0.047 |
| Jiangsu | 0.05 | 1 | 13.293 | 13.277 | 0.018 | 0.961 | -31.358 | 0.893 | 0.002 |
| Jiangsu | 0.05 | 3 | 20.158 | 20.138 | 0.025 | 0.979 | -20.303 | 0.91 | 0.002 |
| Jiangsu | 0.1 | 1 | 13.299 | 13.282 | 0.019 | 0.962 | -29.539 | 0.786 | 0.004 |
| Jiangsu | 0.1 | 3 | 20.184 | 20.159 | 0.031 | 0.979 | -16.022 | 0.963 | 0.001 |
| Jiangsu | 0.2 | 1 | 13.339 | 13.32 | 0.022 | 0.962 | -25.254 | 0.722 | 0.006 |
| Jiangsu | 0.2 | 3 | 20.235 | 20.206 | 0.036 | 0.979 | -13.837 | 0.849 | 0.005 |

## S9. Multi-weather-year summary (islanded, export = False, AI 10%; min/median/max across ten weather years, 2015–2024)

Rows are metric_statistic; columns are province / idle-power fraction.

| metric | Gansu / idle 0.25 | Gansu / idle 0.41 | Guizhou / idle 0.25 | Guizhou / idle 0.41 | Jiangsu / idle 0.25 | Jiangsu / idle 0.41 |
| --- | --- | --- | --- | --- | --- | --- |
| red_S0_S2_pct_min | 15.185 | 13.484 | 15.672 | 14.125 | 15.743 | 14.389 |
| red_S0_S2_pct_median | 15.442 | 13.922 | 16.922 | 14.833 | 16.269 | 14.92 |
| red_S0_S2_pct_max | 16.063 | 14.305 | 17.48 | 15.32 | 16.86 | 15.536 |
| red_S0_S0e_pct_min | 14.598 | 13.159 | 14.051 | 13.289 | 15.136 | 13.954 |
| red_S0_S0e_pct_median | 15.035 | 13.621 | 14.722 | 13.776 | 15.727 | 14.513 |
| red_S0_S0e_pct_max | 15.227 | 13.809 | 15.108 | 13.964 | 16.189 | 15.09 |
| gap_S0e_S2_pct_min | 0.143 | 0.102 | 1.922 | 0.968 | 0.513 | 0.41 |
| gap_S0e_S2_pct_median | 0.673 | 0.285 | 2.703 | 1.246 | 0.791 | 0.511 |
| gap_S0e_S2_pct_max | 1.073 | 0.685 | 3.296 | 1.795 | 0.948 | 0.664 |
| timing_share_S1_min | -6.288 | -5.091 | 0.191 | 0.039 | -1.885 | -0.988 |
| timing_share_S1_median | -0.469 | -1.437 | 0.312 | 0.234 | -0.989 | -0.691 |
| timing_share_S1_max | -0.051 | 0.006 | 0.409 | 0.334 | -0.355 | -0.404 |
| gap_S1_S2_pct_min | 0.931 | 0.614 | 1.377 | 0.763 | 1.095 | 0.74 |
| gap_S1_S2_pct_median | 1.114 | 0.687 | 1.749 | 0.957 | 1.481 | 0.843 |
| gap_S1_S2_pct_max | 1.436 | 0.805 | 2.356 | 1.465 | 1.934 | 1.219 |
| gap_S1rt_S2_pct_min | 0.058 | 0.012 | 0.364 | 0.187 | 0.168 | 0.022 |
| gap_S1rt_S2_pct_median | 0.125 | 0.069 | 0.569 | 0.284 | 0.258 | 0.071 |
| gap_S1rt_S2_pct_max | 0.389 | 0.215 | 0.784 | 0.354 | 0.31 | 0.173 |
| curtail_NOAI_min | 0.036 | 0.036 | 0.122 | 0.122 | 0 | 0 |
| curtail_NOAI_median | 0.055 | 0.055 | 0.249 | 0.249 | 0 | 0 |
| curtail_NOAI_max | 0.105 | 0.105 | 0.322 | 0.323 | 0 | 0 |
| new_ocgt_S0_min | 0 | 0 | 0 | 0 | 0 | 0 |
| new_ocgt_S0_median | 0 | 0 | 0 | 0 | 0 | 0 |
| new_ocgt_S0_max | 0 | 0 | 0 | 0 | 0 | 0 |
| new_ocgt_S2_min | 0 | 0 | 0 | 0 | 0 | 0 |
| new_ocgt_S2_median | 0 | 0 | 0 | 0 | 0 | 0 |
| new_ocgt_S2_max | 0 | 0 | 0 | 0 | 0 | 0 |

## S10. Cost-parameter Monte Carlo summary (islanded, export = False, AI 10%; 20 feasible draws per province, infeasible or timed-out draws excluded)

Rows are metric and statistic (count, mean, standard deviation, minimum, 10th/50th/90th percentile, maximum); columns are provinces.

| metric | statistic | Gansu | Guizhou | Jiangsu |
| --- | --- | --- | --- | --- |
| red_S0_S2_pct | count | 20 | 20 | 20 |
| red_S0_S2_pct | mean | 19.592 | 18.259 | 18.329 |
| red_S0_S2_pct | std | 5.983 | 6.947 | 6.705 |
| red_S0_S2_pct | min | 8.785 | 10.071 | 9.001 |
| red_S0_S2_pct | 10% | 9.543 | 10.835 | 10.286 |
| red_S0_S2_pct | 50% | 21.229 | 17.416 | 19.31 |
| red_S0_S2_pct | 90% | 24.802 | 27.05 | 26.704 |
| red_S0_S2_pct | max | 29.091 | 28.22 | 27.158 |
| red_S0_S0e_pct | count | 20 | 20 | 20 |
| red_S0_S0e_pct | mean | 19.196 | 16.895 | 17.767 |
| red_S0_S0e_pct | std | 5.806 | 6.673 | 6.57 |
| red_S0_S0e_pct | min | 8.742 | 9.345 | 8.998 |
| red_S0_S0e_pct | 10% | 9.412 | 9.658 | 10.009 |
| red_S0_S0e_pct | 50% | 20.793 | 15.666 | 18.044 |
| red_S0_S0e_pct | 90% | 24.293 | 25.768 | 25.923 |
| red_S0_S0e_pct | max | 28.105 | 25.991 | 26.305 |
| gap_S0e_S2_pct | count | 20 | 20 | 20 |
| gap_S0e_S2_pct | mean | 0.512 | 1.708 | 0.706 |
| gap_S0e_S2_pct | std | 0.587 | 0.704 | 0.479 |
| gap_S0e_S2_pct | min | 0.047 | 0.807 | 0.003 |
| gap_S0e_S2_pct | 10% | 0.079 | 0.936 | 0.235 |
| gap_S0e_S2_pct | 50% | 0.33 | 1.625 | 0.678 |
| gap_S0e_S2_pct | 90% | 1 | 2.536 | 1.146 |
| gap_S0e_S2_pct | max | 2.657 | 3.419 | 2.023 |
| timing_share_S1 | count | 20 | 20 | 20 |
| timing_share_S1 | mean | -1.544 | 0.253 | -3.289 |
| timing_share_S1 | std | 2.485 | 0.186 | 8.396 |
| timing_share_S1 | min | -7.774 | -0.169 | -36.07 |
| timing_share_S1 | 10% | -4.565 | -0.017 | -7.205 |
| timing_share_S1 | 50% | -0.142 | 0.28 | -0.165 |
| timing_share_S1 | 90% | 0.426 | 0.412 | 0.236 |
| timing_share_S1 | max | 0.569 | 0.534 | 0.337 |
| gap_S1_S2_pct | count | 20 | 20 | 20 |
| gap_S1_S2_pct | mean | 0.766 | 1.325 | 1.131 |
| gap_S1_S2_pct | std | 0.697 | 0.799 | 0.811 |
| gap_S1_S2_pct | min | 0.032 | 0.435 | 0.093 |
| gap_S1_S2_pct | 10% | 0.234 | 0.665 | 0.3 |
| gap_S1_S2_pct | 50% | 0.481 | 1.195 | 0.933 |
| gap_S1_S2_pct | 90% | 1.503 | 1.9 | 2.37 |
| gap_S1_S2_pct | max | 2.628 | 3.998 | 2.964 |
| gap_S1rt_S2_pct | count | 20 | 20 | 20 |
| gap_S1rt_S2_pct | mean | 0.118 | 0.464 | 0.189 |
| gap_S1rt_S2_pct | std | 0.112 | 0.275 | 0.16 |
| gap_S1rt_S2_pct | min | 0.022 | 0.091 | 0 |
| gap_S1rt_S2_pct | 10% | 0.034 | 0.177 | 0.03 |
| gap_S1rt_S2_pct | 50% | 0.087 | 0.412 | 0.146 |
| gap_S1rt_S2_pct | 90% | 0.202 | 0.783 | 0.349 |
| gap_S1rt_S2_pct | max | 0.518 | 1.08 | 0.586 |
| new_ocgt_S0 | count | 20 | 20 | 20 |
| new_ocgt_S0 | mean | 0 | 0 | 0 |
| new_ocgt_S0 | std | 0 | 0 | 0 |
| new_ocgt_S0 | min | 0 | 0 | 0 |
| new_ocgt_S0 | 10% | 0 | 0 | 0 |
| new_ocgt_S0 | 50% | 0 | 0 | 0 |
| new_ocgt_S0 | 90% | 0 | 0 | 0 |
| new_ocgt_S0 | max | 0 | 0 | 0 |
| new_ocgt_S2 | count | 20 | 20 | 20 |
| new_ocgt_S2 | mean | 0 | 0 | 0 |
| new_ocgt_S2 | std | 0 | 0 | 0 |
| new_ocgt_S2 | min | 0 | 0 | 0 |
| new_ocgt_S2 | 10% | 0 | 0 | 0 |
| new_ocgt_S2 | 50% | 0 | 0 | 0 |
| new_ocgt_S2 | 90% | 0 | 0 | 0 |
| new_ocgt_S2 | max | 0 | 0 | 0 |

## S11. Peak-adjusted sensitivity (incremental cost, EUR per representative week)

| province | ext_mode | export | peak_adjusted | ai_share | case | inc_cost | new_ocgt | new_batt | curtail_NOAI | peak_2030 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | price | False | False | 0.1 | S0 | 9,391,522 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.1 | S0e | 8,113,527 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.1 | S1 | 8,157,286 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.1 | S1rt | 8,110,767 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.1 | S2 | 8,106,916 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.1 | S3 | 8,157,286 | 0 | 0 | 0.025 | 24971.916 |
| Gansu | price | False | False | 0.2 | S0 | 18,494,780 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | False | 0.2 | S0e | 15,929,656 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | False | 0.2 | S1 | 16,017,524 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | False | 0.2 | S1rt | 15,924,103 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | False | 0.2 | S2 | 15,917,783 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | False | 0.2 | S3 | 16,017,524 | 0 | 0 | 0.068 | 24971.916 |
| Gansu | price | False | True | 0.1 | S0 | 8,488,611 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.1 | S0e | 7,340,650 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.1 | S1 | 7,381,484 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.1 | S1rt | 7,338,515 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.1 | S2 | 7,336,706 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.1 | S3 | 7,381,484 | 0 | 0 | 0.017 | 22409.549 |
| Gansu | price | False | True | 0.2 | S0 | 16,718,273 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | price | False | True | 0.2 | S0e | 14,414,338 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | price | False | True | 0.2 | S1 | 14,497,019 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | price | False | True | 0.2 | S1rt | 14,414,250 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | price | False | True | 0.2 | S2 | 14,408,208 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | price | False | True | 0.2 | S3 | 14,497,019 | 0 | 0 | 0.052 | 22409.549 |
| Gansu | neighbours | True | False | 0.1 | S0 | 9,578,732 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.1 | S0e | 8,319,781 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.1 | S1 | 8,357,807 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.1 | S1rt | 8,311,059 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.1 | S2 | 8,309,365 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.1 | S3 | 8,357,807 | 0 | 0 | 0.004 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S0 | 19,148,256 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S0e | 16,635,459 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S1 | 16,713,269 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S1rt | 16,616,220 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S2 | 16,616,145 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | False | 0.2 | S3 | 16,713,269 | 0 | 0 | 0.006 | 24971.916 |
| Gansu | neighbours | True | True | 0.1 | S0 | 8,597,494 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.1 | S0e | 7,467,710 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.1 | S1 | 7,501,527 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.1 | S1rt | 7,458,148 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.1 | S2 | 7,458,068 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.1 | S3 | 7,501,527 | 0 | 0 | 0.003 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S0 | 17,186,950 | 0 | 0 | 0.005 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S0e | 14,931,508 | 0 | 0 | 0.005 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S1 | 15,001,276 | 0 | 0 | 0.005 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S1rt | 14,914,691 | 0 | 0 | 0.005 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S2 | 14,914,307 | 0 | 0 | 0.005 | 22409.549 |
| Gansu | neighbours | True | True | 0.2 | S3 | 15,001,276 | 0 | 0 | 0.005 | 22409.549 |
| Guizhou | price | False | False | 0.1 | S0 | 12,737,351 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.1 | S0e | 10,999,516 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.1 | S1 | 10,959,127 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.1 | S1rt | 10,882,236 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.1 | S2 | 10,850,800 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.1 | S3 | 10,962,125 | 0 | 0 | 0.306 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S0 | 25,007,943 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S0e | 21,243,656 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S1 | 21,221,539 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S1rt | 21,120,171 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S2 | 20,999,481 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | False | 0.2 | S3 | 21,221,539 | 0 | 0 | 0.435 | 41946.452 |
| Guizhou | price | False | True | 0.1 | S0 | 12,739,894 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.1 | S0e | 11,054,777 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.1 | S1 | 11,029,002 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.1 | S1rt | 10,963,723 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.1 | S2 | 10,931,892 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.1 | S3 | 11,029,002 | 0 | 0 | 0.255 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S0 | 24,696,485 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S0e | 21,004,844 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S1 | 21,051,233 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S1rt | 20,941,978 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S2 | 20,834,107 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | price | False | True | 0.2 | S3 | 21,051,233 | 0 | 0 | 0.401 | 38919.945 |
| Guizhou | neighbours | True | False | 0.1 | S0 | 15,912,304 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.1 | S0e | 13,822,922 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.1 | S1 | 13,868,325 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.1 | S1rt | 13,802,506 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.1 | S2 | 13,800,894 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.1 | S3 | 13,868,325 | 0 | 0 | 0.001 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S0 | 31,796,779 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S0e | 27,576,531 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S1 | 27,673,179 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S1rt | 27,541,847 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S2 | 27,537,910 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | False | 0.2 | S3 | 27,673,179 | 0 | 0 | 0.003 | 41946.452 |
| Guizhou | neighbours | True | True | 0.1 | S0 | 14,827,909 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.1 | S0e | 12,874,986 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.1 | S1 | 12,919,408 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.1 | S1rt | 12,860,265 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.1 | S2 | 12,857,139 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.1 | S3 | 12,919,408 | 0 | 0 | 0 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S0 | 29,618,173 | 0 | 0 | 0.001 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S0e | 25,683,631 | 0 | 0 | 0.001 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S1 | 25,781,296 | 0 | 0 | 0.001 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S1rt | 25,653,364 | 0 | 0 | 0.001 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S2 | 25,652,339 | 0 | 0 | 0.001 | 38919.945 |
| Guizhou | neighbours | True | True | 0.2 | S3 | 25,781,296 | 0 | 0 | 0.001 | 38919.945 |

## S12. Mechanism comparison

### S12a. Settlement designs under identical tasks and reliability (rows are metrics; columns are provinces)

| metric | Gansu | Jiangsu | Guizhou |
| --- | --- | --- | --- |
| system_cost_S1 | 159,260,672 | 550,965,702 | 114,426,853 |
| system_cost_S3 | 159,260,672 | 551,261,129 | 114,429,851 |
| system_cost_S1rt | 159,214,152 | 550,685,488 | 114,349,963 |
| system_cost_S2 | 159,210,301 | 550,617,327 | 114,318,526 |
| s3_saving_vs_S1 | 0 | -295,427 | -2998.019 |
| s3_compensation_floor_own_baseline | 0 | 459,446 | 20236.509 |
| s3_mean_commitment_mw | 0 | 295.466 | 41.165 |
| s1rt_saving_vs_S1 | 46519.224 | 280,214 | 76890.129 |
| gap_S1rt_S2_pct | 0.048 | 0.133 | 0.29 |
| system_cost_S0 | 160,494,908 | 560,080,895 | 116,205,077 |
| system_cost_S0e | 159,216,912 | 550,832,373 | 114,467,242 |
| system_cost_NOAI | 151,103,385 | 499,516,889 | 103,467,726 |
| n_events | {‘winter’: 0, ‘spring’: 0, ‘summer’: 0, ‘autumn’: 0} | {‘winter’: 8, ‘spring’: 0, ‘summer’: 0, ‘autumn’: 0} | {‘winter’: 0, ‘spring’: 0, ‘summer’: 8, ‘autumn’: 0} |
| ai_mwh_S1 | 300,635 | 1,563,793 | 505,168 |
| ai_mwh_S1rt | 299,660 | 1,555,012 | 518,678 |

### S12b. Baseline-manipulation exposure of the event contract (rows are metrics; columns are province / week)

| metric | Guizhou / week summer | Jiangsu / week winter |
| --- | --- | --- |
| n_events | 8 | 8 |
| commit_own_mw | 164.662 | 1181.866 |
| comp_own | 80946.034 | 1,837,782 |
| commit_inflated_mw | 51.262 | 0 |
| comp_inflated | 16112.12 | 0 |
| inflated_minus_own_event_power_mw | 689.945 | 3708.718 |