## README
sheet | content
S1 | Data registry
S3 | MLPerf Training v4.0 node power
S4 | GEM-based 2020 and 2030 fleets (MW)
S5 | Peak-load plausibility check
S6 | Multi-year renewable profiles audit
S7 | 2030 scenario results, islanded and fixed-price exchange proxy (idle 41%)
S8 | 2030 scenario results, neighbour-aggregate exchange node (idle 41%)
S9 | Multi-weather-year summary (2015-2024)
S10 | Cost-parameter Monte Carlo summary
S11 | Peak-adjusted sensitivity
S12a | Mechanism comparison
S12b | Baseline manipulation exposure

## S1
id | dataset | url | evidence_type | licence | status | limits
D01 | Emerald AI May 2025 experiment | https://github.com/ai-emerald/emerald-ai-demo-may-2025 | published_experimental_data | Apache-2.0 repository licence | downloaded_reanalysed | GPU-only modes; timestamp/aggregate conflicts; no independent repeated runs or complete service logs
D02 | China 2018 provincial hourly load | https://doi.org/10.5281/zenodo.8322210 | reconstructed_historical_load | CC-BY-4.0 | checksums_verified_column_mapping_verified | daily-extrema typical-profile reconstruction; not current metered load
D03 | China interprovincial transmission | https://doi.org/10.5281/zenodo.8322210 | compiled_infrastructure | CC-BY-4.0 | quarantined_pending_asset_checks | sheet classifications reversed vs appendix; 3 matrix/list edge conflicts; aliases and endpoints unresolved
D04 | PyPSA-China model and assumptions | https://github.com/PyPSA/PyPSA-China | code_and_derived_inputs | MIT code; per-input licences need checking | repository_downloaded_load_provenance_traced | load shares historical origin with D02; not independent validation; default future load scaled shape
D05 | Dunlap capacity-adequacy source model | https://github.com/ctdunlap32/data-center-flexibility-resource-adequacy | author_code_manuscript_processed_inputs | MIT code; upstream data licences separate | method_inspected_not_reproduced | exogenous ELCC and partially unobserved assumptions; author manuscript is not Nature publication
D06 | Azure LLM inference trace 2024 | https://github.com/Azure/AzurePublicDataset/blob/master/AzureLLMInferenceDataset2024.md | production_request_metadata | CC-BY-4.0 | schema_license_release_sizes_inspected_not_downloaded | invocation and token lengths only; no deadlines or GPU power; code 692 MB, conversation 1135 MB
A01 | Two-block diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | not production workloads or grid results
A02 | Sequential-task diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | uniform arrivals; assumed deadline and idle power; no grid or switching cost
D07 | BurstGPT release v2.0 part 1 | https://github.com/HPMLL/BurstGPT/releases/tag/v2.0 | production_request_metadata | CC-BY-4.0 | download_digest_verified_schema_and_hourly_audit_complete | no deadlines, elapsed time, request IDs or power; retain repeated metadata and zero-output records
D08 | PyPSA-China V3.0 selected archive members | https://doi.org/10.5281/zenodo.13987282 | published_model_inputs | CC-BY-4.0 record; verify upstream embedded sources before redistribution | member_crc_size_verified_and_inputs_audited | not a calibrated base year; source-model totals and official statistics differ; hydro leapday missing; reservoir subsystem separate
D09 | 2020 national power reliability annual report | https://prpq.nea.gov.cn/uploads/file1/20211009/616107fe94a8e.pdf | official_aggregate_reliability_statistics | public official report; reuse facts with attribution | PDF_obtained_three_tables_extracted_with_sum_checks | not chronological outage telemetry; unplanned/forced/availability metrics differ; unit-year exposure definitions require checking
D10 | DynamoLLM HPCA 2025 published experiment | https://jovans2.github.io/files/DynamoLLM_HPCA2025.pdf | published_experimental_methods_and_aggregate_tables | author-hosted paper; numeric facts attributed; no PDF redistribution planned | PDF_obtained_tables_and_methods_inspected | raw power/performance profiling dataset not obtained; cannot treat example SLOs as BurstGPT observed deadlines
A03 | Fixed commitment operational cost scenarios | local analysis | analyst_assumptions_with_measured_modes | original analysis | implemented_analytic_dual_and_convexity_checks_passed | assumed tariffs, arrivals, deadlines, idle power; no observed company costs or grid value
D11 | GEM Global Integrated Power Tracker July 2025 China subset | https://doi.org/10.5281/zenodo.16810831 | compiled_unit_phase_inventory | CC-BY-4.0 confirmed About sheet | download_checksum_verified_unit_ID_and_date_completeness_audited | tracking thresholds, unknown dates, conversions and historical retired coverage require reconciliation; not complete official historical fleet
D12 | Alibaba PAI GPU cluster trace 2020 (NSDI 22) | https://github.com/alibaba/clusterdata/tree/master/cluster-trace-gpu-v2020 | production_job_task_instance_metadata_and_instance_average_sensors | CC-BY-4.0 (repository LICENSE) | downloaded_extracted_sha256_recorded_audit_complete | no deadlines, no power; plan_gpu is requested not used; wait = scheduling latency only; dates fake
D13 | SenseTime Helios GPU cluster traces (SC 21) | https://github.com/S-Lab-System-Group/HeliosData | production_slurm_job_metadata | see LICENSE.txt in release (Apache-2.0 text) | downloaded_sha256_verified_audit_complete | no power or utilisation; queue is observed scheduling wait not a deadline; 39% of GPU-hours in CANCELLED jobs
D14 | Microsoft Philly DL training trace (ATC 19) | https://github.com/msr-fiddle/philly-traces | production_job_log_and_per_minute_gpu_utilisation | CC-BY-4.0 (repository LICENSE) | downloaded_via_lfs_sha256_recorded_job_log_and_streamed_utilisation_audit_complete | 2017 hardware; per-GPU per-minute utilisation with variable columns (DST duplicate rows truncated to first 8 values); 68% of GPU-hours in Failed/Killed jobs; no deadlines
A04 | Region selection matrix | local analysis | screening_table_from_archive_and_official_inputs | original analysis | built | archive capacities unverified; Gansu large hydro absent from archive; Inner Mongolia grid split
A05 | Regional S0/S0b/S1/S2 smoke grid | local analysis | uncalibrated_regional_smoke_test | original analysis | pipeline_verified_results_not_empirical | unvalidated hourly load shape; archive capacities; placeholder tariff and external market; no unit commitment or coal minimum load
D15 | Jiangsu grid 2020-2022 T&D and retail tariff notice (苏发改价格发〔2020〕1183号) incl. industrial TOU table | https://www.njqxq.gov.cn/qxqrmzf/qxqfzhggj/202011/P020201111396651530459.pdf | official_tariff_document_scanned_pdf | public government document | pdf_saved_pages_read_values_transcribed | scanned images, transcribed by reading; 2021 effective date used for 2020 base year; market users pay market price + T&D
D16 | Gansu 2020-12 notice on retail tariff adjustment and TOU optimisation (policy interpretation page) | http://www.gansu.gov.cn/art/2020/12/3/art_10359_474921.html | official_policy_interpretation_web_page | public government page | mirror_page_fetched_values_transcribed | original gansu.gov.cn page returned HTTP 412 to fetch; mirror gsei.com.cn used; ratios not absolute prices
D17 | Guizhou TOU mechanism notice 黔发改价格〔2023〕481号 | https://fgw.guizhou.gov.cn/zwgk/zcwj/zcwj/202306/t20230628_80566840.html | official_notice_web_page | public government page | page_fetched_values_transcribed | 2023 rules used as nearest official structure; no 2020 Guizhou TOU document obtained; year mismatch flagged
A06 | GEM-based unit-level 2020/2030 fleets for Gansu, Jiangsu, Guizhou | local analysis of D11 | derived_unit_inventory | CC-BY-4.0 upstream | built_compared_with_archive | GEM size thresholds (lower bound vs official); unknown start years excluded; pre-construction listed separately
A07 | Provincial 2030 S0/S1/S2/S3 scenario runs | local analysis | public_data_scenario_with_documented_assumptions | original analysis | pipeline_run_results_labelled_scenario_not_calibrated | hourly load shape unvalidated (2018-derived); external-market proxy; committed-capacity must-run heuristic; RE existing = 2020 archive; no new coal; S3 event rule = >20% above weekly median marginal cost
D18 | MLPerf Training v4.0 AC power logs (Supermicro 8xH100, llama2_70b_lora) | https://github.com/mlcommons/training_results_v4.0/tree/main/smc-ac-power | published_benchmark_power_measurements | MLCommons results repository (Apache-2.0) | downloaded_parsed_idle_active_extracted_three_benchmarks | node-level incl. non-GPU components; benchmark workloads; one run per benchmark
D19 | Open-Meteo historical weather API (ERA5-based) hourly 2015-2024 at GEM wind/solar sites | https://archive-api.open-meteo.com/v1/archive | reanalysis_weather_free_api | CC-BY 4.0 (Open-Meteo; ERA5 Copernicus) | pulled_cached_converted_to_capacity_factors | simple power-curve and GHI conversions; level scaled to archive 2020 mean; not measured generation

## S3
benchmark | nodes | idle_kW | active_kW | max_kW | idle_over_max
llama2_70b_lora | 8 | 2.6465 | 6.25 | 6.42 | 0.41223
resnet | 8 | 2.2405 | 5.8595 | 5.9325 | 0.37767
ssd | 8 | 2.2345 | 6.2765 | 6.372 | 0.35067

## S4
province | type | mw_2020 | units_2020 | mw_2030_operating_plus_construction | units_2030 | mw_2030_preconstruction_announced
Gansu | coal | 21630 | 61 | 33650 | 75 | 2000
Gansu | oil/gas | 180 | 1 | 180 | 1 | 0
Gansu | nuclear | 0 | 0 | 0 | 0 | 0
Gansu | hydropower | 5514 | 34 | 8094 | 36 | 0
Gansu | wind | 12798.4 | 111 | 28451.6 | 215 | 200
Gansu | solar | 8632.1 | 286 | 24919.9 | 407 | 0
Jiangsu | coal | 75804 | 199 | 92481 | 221 | 2700
Jiangsu | oil/gas | 17542 | 73 | 24779 | 108 | 0
Jiangsu | nuclear | 5490 | 5 | 9138 | 8 | 0
Jiangsu | hydropower | 2600 | 3 | 3950 | 5 | 1200
Jiangsu | wind | 13261.2 | 136 | 21955.2 | 179 | 0
Jiangsu | solar | 9303.6 | 1283 | 11198 | 1301 | 0
Guizhou | coal | 31860 | 75 | 41890 | 95 | 2210
Guizhou | oil/gas | 0 | 0 | 0 | 0 | 0
Guizhou | nuclear | 0 | 0 | 0 | 0 | 0
Guizhou | hydropower | 16735 | 39 | 18235 | 40 | 0
Guizhou | wind | 4807.5 | 95 | 6626.1 | 123 | 100
Guizhou | solar | 9095 | 128 | 21149.5 | 236 | 0

## S5
province | anchored_2020_peak_MW | official_reference | reference_value_MW | status
Jiangsu | 109828 | 2020 年夏季与冬季最高调度负荷均突破 1 亿千瓦（国网江苏，2021-01 报道） | >100000 | consistent in magnitude; exact value not obtained
Gansu | 19679 | 2021 年全网最大用电负荷 1766 万千瓦（北极星电力网转载） | 17660 | anchored 2020 peak exceeds 2021 official peak by ~11%
Guizhou | 31255 | 贵州电网统调负荷 2026-01 首次突破 3000 万千瓦（央广网）；2025 年底最高 2955.3 万千瓦 | <30000 in 2020 | anchored 2020 peak exceeds the 2026 record; 2020 peak must have been well below 31.3 GW

## S6
province_tech | level_scale | corr_with_archive_2020 | top_site_capacity_share | n_operating_sites
Gansu / solar | 0.95493 | 0.93592 | 0.254 | 442
Gansu / wind | 1.1604 | 0.66032 | 0.30316 | 217
Guizhou / solar | 0.71067 | 0.95568 | 0.2271 | 227
Guizhou / wind | 2.3908 | 0.95352 | 0.26621 | 125
Jiangsu / solar | 0.97289 | 0.96687 | 0.27388 | 1704
Jiangsu / wind | 0.90109 | 0.80471 | 0.30473 | 187

## S7
province | export | ai_share | slack_mult | cost_S0 | cost_S0e | cost_S1 | cost_S3 | cost_S1rt | cost_S2 | red_S0_S2_pct | red_S0_S0e_pct | gap_S0e_S2_pct | share_S1 | timing_share_S1 | timing_share_S1rt | gap_S1rt_S2_pct | ai_mwh_S0 | ai_mwh_S2 | new_ocgt_S0 | new_ocgt_S2 | new_batt_S0
Gansu | FALSE | 0.05 | 1 | 4716345.959 | 4081179.19 | 4101238.265 | 4101238.265 | 4077055.095 | 4075821.245 | 13.581 | 13.467 | 0.131 | 0.96 | -3.744 | 0.77 | 0.03 | 172281.795 | 149991.878 | 0 | 0 | 0
Gansu | FALSE | 0.05 | 3 | 4716345.959 | 3757311.489 | 3781838.298 | 3781838.298 | 3753656.164 | 3753117.229 | 20.423 | 20.334 | 0.112 | 0.97 | -5.848 | 0.872 | 0.014 | 172281.795 | 138554.696 | 0 | 0 | 0
Gansu | FALSE | 0.1 | 1 | 9391522.107 | 8113526.868 | 8157286.218 | 8157286.218 | 8110766.994 | 8106915.971 | 13.678 | 13.608 | 0.082 | 0.961 | -6.619 | 0.417 | 0.048 | 344563.591 | 299589.54 | 0 | 0 | 0
Gansu | FALSE | 0.1 | 3 | 9391522.107 | 7461038.02 | 7510091.638 | 7510091.638 | 7459867.58 | 7453211.473 | 20.639 | 20.556 | 0.105 | 0.971 | -6.268 | 0.15 | 0.089 | 344563.591 | 276420.944 | 0 | 0 | 0
Gansu | FALSE | 0.2 | 1 | 18494779.71 | 15929656.365 | 16017523.573 | 16017523.573 | 15924102.525 | 15917783.142 | 13.934 | 13.869 | 0.075 | 0.961 | -7.4 | 0.468 | 0.04 | 689127.181 | 598274.139 | 0 | 0 | 0
Gansu | FALSE | 0.2 | 3 | 18494779.71 | 14606453.685 | 14705016.216 | 14705016.216 | 14604649.451 | 14592949.874 | 21.097 | 21.024 | 0.093 | 0.971 | -7.299 | 0.134 | 0.08 | 689127.181 | 551318.998 | 0 | 0 | 0
Gansu | TRUE | 0.05 | 1 | 5093787.956 | 4419541.618 | 4439699.778 | 4439699.778 | 4416253.46 | 4416168.096 | 13.303 | 13.237 | 0.076 | 0.965 | -5.975 | 0.975 | 0.002 | 172281.795 | 149563.953 | 0 | 0 | 0
Gansu | TRUE | 0.05 | 3 | 5093787.956 | 4070915.93 | 4095626.257 | 4095626.257 | 4068187.569 | 4068155.846 | 20.135 | 20.081 | 0.068 | 0.973 | -8.953 | 0.989 | 0.001 | 172281.795 | 137710.042 | 0 | 0 | 0
Gansu | TRUE | 0.1 | 1 | 10184504.573 | 8834451.734 | 8875171.011 | 8875171.011 | 8828408.605 | 8828312.677 | 13.316 | 13.256 | 0.07 | 0.965 | -6.633 | 0.984 | 0.001 | 344563.591 | 299028.392 | 0 | 0 | 0
Gansu | TRUE | 0.1 | 3 | 10184504.573 | 8137468.824 | 8185936.062 | 8185936.062 | 8131902.08 | 8131208.178 | 20.161 | 20.1 | 0.077 | 0.973 | -7.742 | 0.889 | 0.009 | 344563.591 | 275371.611 | 0 | 0 | 0
Gansu | TRUE | 0.2 | 1 | 20352157.223 | 17651024.405 | 17731531.596 | 17731531.596 | 17638367.138 | 17638289.696 | 13.335 | 13.272 | 0.072 | 0.966 | -6.322 | 0.994 | 0 | 689127.181 | 597887.145 | 0 | 0 | 0
Gansu | TRUE | 0.2 | 3 | 20352157.223 | 16258281.92 | 16352856.761 | 16352856.761 | 16244904.79 | 16244482.047 | 20.183 | 20.115 | 0.085 | 0.974 | -6.853 | 0.969 | 0.003 | 689127.181 | 550652.809 | 0 | 0 | 0
Guizhou | FALSE | 0.05 | 1 | 6406986.607 | 5585694.556 | 5557422.182 | 5578925.488 | 5517964.517 | 5503164.036 | 14.107 | 12.819 | 1.5 | 0.94 | 0.343 | 0.821 | 0.269 | 289389.495 | 260340.73 | 0 | 0 | 0
Guizhou | FALSE | 0.05 | 3 | 6406986.607 | 5131668.838 | 5136341.792 | 5155080.59 | 5066187.798 | 5056744.471 | 21.075 | 19.905 | 1.482 | 0.941 | -0.062 | 0.874 | 0.187 | 289389.495 | 246128.866 | 0 | 0 | 0
Guizhou | FALSE | 0.1 | 1 | 12737350.805 | 10999515.5 | 10959126.508 | 10962124.526 | 10882236.379 | 10850799.537 | 14.811 | 13.644 | 1.371 | 0.943 | 0.272 | 0.789 | 0.29 | 578778.989 | 517360.791 | 0 | 0 | 0
Guizhou | FALSE | 0.1 | 3 | 12737350.805 | 10074534.22 | 10089706.375 | 10118624.525 | 9972866.911 | 9937527.903 | 21.981 | 20.906 | 1.379 | 0.946 | -0.111 | 0.742 | 0.356 | 578778.989 | 488040.519 | 0 | 0 | 0
Guizhou | FALSE | 0.2 | 1 | 25007942.895 | 21243656.297 | 21221538.98 | 21221538.98 | 21120170.853 | 20999480.914 | 16.029 | 15.052 | 1.163 | 0.945 | 0.091 | 0.506 | 0.575 | 1157557.978 | 1022774.596 | 0 | 0 | 0
Guizhou | FALSE | 0.2 | 3 | 25007942.895 | 19339271.399 | 19366969.509 | 19582760.937 | 19233821.785 | 19087095.456 | 23.676 | 22.667 | 1.321 | 0.953 | -0.11 | 0.418 | 0.769 | 1157557.978 | 958617.043 | 0 | 0 | 0
Guizhou | TRUE | 0.05 | 1 | 8264054.681 | 7163267.075 | 7198603.609 | 7198603.609 | 7159400.244 | 7159201.8 | 13.369 | 13.32 | 0.057 | 0.964 | -8.692 | 0.951 | 0.003 | 289389.495 | 251071.923 | 0 | 0 | 0
Guizhou | TRUE | 0.05 | 3 | 8264054.681 | 6598261.686 | 6625980.129 | 6625980.129 | 6594356.787 | 6594258.453 | 20.206 | 20.157 | 0.061 | 0.981 | -6.924 | 0.975 | 0.001 | 289389.495 | 231239.084 | 0 | 0 | 0
Guizhou | TRUE | 0.1 | 1 | 16384620.813 | 14191352.725 | 14265553.718 | 14265553.718 | 14186076.707 | 14185069.137 | 13.424 | 13.386 | 0.044 | 0.963 | -11.809 | 0.84 | 0.007 | 578778.989 | 502143.846 | 0 | 0 | 0
Guizhou | TRUE | 0.1 | 3 | 16384620.813 | 13065919.129 | 13125223.222 | 13125223.222 | 13061256.295 | 13060136.974 | 20.29 | 20.255 | 0.044 | 0.98 | -10.256 | 0.806 | 0.009 | 578778.989 | 462478.167 | 0 | 0 | 0
Guizhou | TRUE | 0.2 | 1 | 32220263.975 | 27863287.64 | 28028551.233 | 28028551.233 | 27861604.248 | 27858980.182 | 13.536 | 13.522 | 0.015 | 0.961 | -38.367 | 0.391 | 0.009 | 1157557.978 | 1004287.693 | 0 | 0 | 0
Guizhou | TRUE | 0.2 | 3 | 32220263.975 | 25621876.794 | 25755849.62 | 25755849.62 | 25621578.322 | 25619232.073 | 20.487 | 20.479 | 0.01 | 0.979 | -50.657 | 0.113 | 0.009 | 1157557.978 | 924956.335 | 0 | 0 | 0
Jiangsu | FALSE | 0.05 | 1 | 28905043.513 | 24712570.786 | 24779465.523 | 24772012.507 | 24610641.294 | 24597050.188 | 14.904 | 14.504 | 0.47 | 0.958 | -0.579 | 0.882 | 0.055 | 896014.679 | 777747.64 | 0 | 0 | 0
Jiangsu | FALSE | 0.05 | 3 | 28905043.513 | 22667441.811 | 22680700.238 | 22680700.238 | 22517786.86 | 22504657.112 | 22.143 | 21.58 | 0.723 | 0.972 | -0.081 | 0.919 | 0.058 | 896014.679 | 715967.986 | 0 | 0 | 0
Jiangsu | FALSE | 0.1 | 1 | 60564005.691 | 51315483.311 | 51448812.293 | 51744239.519 | 51168598.362 | 51100437.501 | 15.626 | 15.271 | 0.421 | 0.963 | -0.62 | 0.683 | 0.133 | 1792029.359 | 1555066.253 | 0 | 0 | 165.982
Jiangsu | FALSE | 0.1 | 3 | 60564005.691 | 46798302.697 | 46744502.359 | 46734867.224 | 46464920.766 | 46404857.309 | 23.379 | 22.729 | 0.848 | 0.976 | 0.137 | 0.847 | 0.129 | 1792029.359 | 1431935.971 | 0 | 0 | 165.982
Jiangsu | FALSE | 0.2 | 1 | 140005402.975 | 116358517.961 | 118347942.671 | 118850619.36 | 113102183.575 | 111481799.388 | 20.373 | 16.89 | 4.374 | 0.759 | -0.408 | 0.668 | 1.453 | 3584058.717 | 3118654.317 | 9498.094 | 591.061 | 969.722
Jiangsu | FALSE | 0.2 | 3 | 140005402.975 | 101190395.523 | 101560917.651 | 101615316.652 | 102603732.528 | 100048295.277 | 28.54 | 27.724 | 1.142 | 0.962 | -0.324 | -1.237 | 2.554 | 3584058.717 | 2870654.075 | 9498.094 | 0 | 969.722
Jiangsu | TRUE | 0.05 | 1 | 26801002.604 | 23195194.9 | 23319370.563 | 23319370.563 | 23183959.276 | 23181801.999 | 13.504 | 13.454 | 0.058 | 0.962 | -9.272 | 0.839 | 0.009 | 896014.679 | 777374.898 | 0 | 0 | 0
Jiangsu | TRUE | 0.05 | 3 | 26801002.604 | 21354048.733 | 21452284.332 | 21452284.332 | 21337164.325 | 21335366.13 | 20.393 | 20.324 | 0.088 | 0.979 | -5.258 | 0.904 | 0.008 | 896014.679 | 715967.986 | 0 | 0 | 0
Jiangsu | TRUE | 0.1 | 1 | 54086718.587 | 46771340.146 | 47027906.789 | 47027906.789 | 46752939.986 | 46745368.377 | 13.573 | 13.525 | 0.056 | 0.962 | -9.879 | 0.708 | 0.016 | 1792029.359 | 1554749.796 | 0 | 0 | 0
Jiangsu | TRUE | 0.1 | 3 | 54086718.587 | 43018531.141 | 43217891.718 | 43217891.718 | 42981137.531 | 42973249.906 | 20.548 | 20.464 | 0.105 | 0.978 | -4.403 | 0.826 | 0.018 | 1792029.359 | 1431935.971 | 0 | 0 | 0
Jiangsu | TRUE | 0.2 | 1 | 109499872.699 | 94653841.353 | 95205980.998 | 95205980.998 | 94633015 | 94623243.447 | 13.586 | 13.558 | 0.032 | 0.961 | -18.045 | 0.681 | 0.01 | 3584058.717 | 3109499.591 | 0 | 0 | 0
Jiangsu | TRUE | 0.2 | 3 | 109499872.699 | 87007024.78 | 87445255.319 | 87445255.319 | 86982401.751 | 86969565.284 | 20.576 | 20.541 | 0.043 | 0.979 | -11.699 | 0.657 | 0.015 | 3584058.717 | 2863871.942 | 0 | 0 | 0

## S8
province | ai_share | slack_mult | cost_S0 | cost_S0e | cost_S1 | cost_S3 | cost_S1rt | cost_S2 | red_S0_S2_pct | red_S0_S0e_pct | gap_S0e_S2_pct | share_S1 | timing_share_S1 | timing_share_S1rt | gap_S1rt_S2_pct
Gansu | 0.05 | 1 | 4790242.944 | 4160773.138 | 4179564.507 | 4179564.507 | 4155355.649 | 4155343.687 | 13.254 | 13.141 | 0.131 | 0.962 | -3.461 | 0.998 | 0
Gansu | 0.05 | 3 | 4790242.944 | 3836905.436 | 3864009.609 | 3864009.609 | 3832843.195 | 3832843.195 | 19.986 | 19.902 | 0.106 | 0.967 | -6.672 | 1 | 0
Gansu | 0.1 | 1 | 9578732.183 | 8319780.651 | 8357807.222 | 8357807.222 | 8311059.023 | 8309365.399 | 13.252 | 13.143 | 0.125 | 0.962 | -3.651 | 0.837 | 0.02
Gansu | 0.1 | 3 | 9578732.183 | 7672037.854 | 7726246.2 | 7726246.2 | 7663942.268 | 7663934.41 | 19.99 | 19.905 | 0.106 | 0.967 | -6.69 | 0.999 | 0
Gansu | 0.2 | 1 | 19148256.087 | 16635459.412 | 16713269.003 | 16713269.003 | 16616219.7 | 16616144.788 | 13.224 | 13.123 | 0.116 | 0.962 | -4.029 | 0.996 | 0
Gansu | 0.2 | 3 | 19148256.087 | 15334546.093 | 15442977.131 | 15442977.131 | 15320839.637 | 15320114.474 | 19.992 | 19.917 | 0.094 | 0.968 | -7.513 | 0.95 | 0.005
Guizhou | 0.05 | 1 | 7957846.993 | 6917865.161 | 6939765.635 | 6939765.635 | 6906688.304 | 6906486.177 | 13.212 | 13.069 | 0.165 | 0.968 | -1.925 | 0.982 | 0.003
Guizhou | 0.05 | 3 | 7957846.993 | 6377242.263 | 6404401.593 | 6404401.593 | 6358126.576 | 6357912.462 | 20.105 | 19.862 | 0.304 | 0.971 | -1.405 | 0.989 | 0.003
Guizhou | 0.1 | 1 | 15912303.983 | 13822922.46 | 13868324.51 | 13868324.51 | 13802506.443 | 13800893.75 | 13.269 | 13.131 | 0.16 | 0.968 | -2.061 | 0.927 | 0.012
Guizhou | 0.1 | 3 | 15912303.983 | 12738024.683 | 12792399.486 | 12792399.486 | 12703082.312 | 12699251.842 | 20.192 | 19.949 | 0.305 | 0.971 | -1.402 | 0.901 | 0.03
Guizhou | 0.2 | 1 | 31796779.418 | 27576531.087 | 27673178.85 | 27673178.85 | 27541846.743 | 27537909.91 | 13.394 | 13.273 | 0.14 | 0.968 | -2.502 | 0.898 | 0.014
Guizhou | 0.2 | 3 | 31796779.418 | 25395318.374 | 25504306.316 | 25504306.316 | 25336670.813 | 25324864.38 | 20.354 | 20.132 | 0.278 | 0.972 | -1.547 | 0.832 | 0.047
Jiangsu | 0.05 | 1 | 25357176.818 | 21990420.914 | 22116627.901 | 22116627.901 | 21986826.29 | 21986396.219 | 13.293 | 13.277 | 0.018 | 0.961 | -31.358 | 0.893 | 0.002
Jiangsu | 0.05 | 3 | 25357176.818 | 20250775.962 | 20352468.818 | 20352468.818 | 20246219.374 | 20245767.287 | 20.158 | 20.138 | 0.025 | 0.979 | -20.303 | 0.91 | 0.002
Jiangsu | 0.1 | 1 | 50791069.773 | 44044923.41 | 44295969.397 | 44295969.397 | 44038246.226 | 44036424.754 | 13.299 | 13.282 | 0.019 | 0.962 | -29.539 | 0.786 | 0.004
Jiangsu | 0.1 | 3 | 50791069.773 | 40552024.191 | 40752646.019 | 40752646.019 | 40539961.022 | 40539502.294 | 20.184 | 20.159 | 0.031 | 0.979 | -16.022 | 0.963 | 0.001
Jiangsu | 0.2 | 1 | 101894177.382 | 88322269.47 | 88822355.608 | 88822355.608 | 88307975.697 | 88302466.937 | 13.339 | 13.32 | 0.022 | 0.962 | -25.254 | 0.722 | 0.006
Jiangsu | 0.2 | 3 | 101894177.382 | 81305696.378 | 81713471.756 | 81713471.756 | 81280683.716 | 81276225.901 | 20.235 | 20.206 | 0.036 | 0.979 | -13.837 | 0.849 | 0.005

## S9
province | idle | red_S0_S2_pct_min | red_S0_S2_pct_median | red_S0_S2_pct_max | red_S0_S0e_pct_min | red_S0_S0e_pct_median | red_S0_S0e_pct_max | gap_S0e_S2_pct_min | gap_S0e_S2_pct_median | gap_S0e_S2_pct_max | timing_share_S1_min | timing_share_S1_median | timing_share_S1_max | gap_S1_S2_pct_min | gap_S1_S2_pct_median | gap_S1_S2_pct_max | gap_S1rt_S2_pct_min | gap_S1rt_S2_pct_median | gap_S1rt_S2_pct_max | curtail_NOAI_min | curtail_NOAI_median | curtail_NOAI_max | new_ocgt_S0_min | new_ocgt_S0_median | new_ocgt_S0_max | new_ocgt_S2_min | new_ocgt_S2_median | new_ocgt_S2_max
Gansu | 0.25 | 15.185 | 15.442 | 16.063 | 14.598 | 15.035 | 15.227 | 0.143 | 0.673 | 1.073 | -6.288 | -0.469 | -0.051 | 0.931 | 1.114 | 1.436 | 0.058 | 0.125 | 0.389 | 0.036 | 0.055 | 0.105 | 0 | 0 | 0 | 0 | 0 | 0
Gansu | 0.41 | 13.484 | 13.922 | 14.305 | 13.159 | 13.621 | 13.809 | 0.102 | 0.285 | 0.685 | -5.091 | -1.437 | 0.006 | 0.614 | 0.687 | 0.805 | 0.012 | 0.069 | 0.215 | 0.036 | 0.055 | 0.105 | 0 | 0 | 0 | 0 | 0 | 0
Guizhou | 0.25 | 15.672 | 16.922 | 17.48 | 14.051 | 14.722 | 15.108 | 1.922 | 2.703 | 3.296 | 0.191 | 0.312 | 0.409 | 1.377 | 1.749 | 2.356 | 0.364 | 0.569 | 0.784 | 0.122 | 0.249 | 0.322 | 0 | 0 | 0 | 0 | 0 | 0
Guizhou | 0.41 | 14.125 | 14.833 | 15.32 | 13.289 | 13.776 | 13.964 | 0.968 | 1.246 | 1.795 | 0.039 | 0.234 | 0.334 | 0.763 | 0.957 | 1.465 | 0.187 | 0.284 | 0.354 | 0.122 | 0.249 | 0.323 | 0 | 0 | 0 | 0 | 0 | 0
Jiangsu | 0.25 | 15.743 | 16.269 | 16.86 | 15.136 | 15.727 | 16.189 | 0.513 | 0.791 | 0.948 | -1.885 | -0.989 | -0.355 | 1.095 | 1.481 | 1.934 | 0.168 | 0.258 | 0.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jiangsu | 0.41 | 14.389 | 14.92 | 15.536 | 13.954 | 14.513 | 15.09 | 0.41 | 0.511 | 0.664 | -0.988 | -0.691 | -0.404 | 0.74 | 0.843 | 1.219 | 0.022 | 0.071 | 0.173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## S10
province | red_S0_S2_pct_count | red_S0_S2_pct_mean | red_S0_S2_pct_std | red_S0_S2_pct_min | red_S0_S2_pct_10% | red_S0_S2_pct_50% | red_S0_S2_pct_90% | red_S0_S2_pct_max | red_S0_S0e_pct_count | red_S0_S0e_pct_mean | red_S0_S0e_pct_std | red_S0_S0e_pct_min | red_S0_S0e_pct_10% | red_S0_S0e_pct_50% | red_S0_S0e_pct_90% | red_S0_S0e_pct_max | gap_S0e_S2_pct_count | gap_S0e_S2_pct_mean | gap_S0e_S2_pct_std | gap_S0e_S2_pct_min | gap_S0e_S2_pct_10% | gap_S0e_S2_pct_50% | gap_S0e_S2_pct_90% | gap_S0e_S2_pct_max | timing_share_S1_count | timing_share_S1_mean | timing_share_S1_std | timing_share_S1_min | timing_share_S1_10% | timing_share_S1_50% | timing_share_S1_90% | timing_share_S1_max | gap_S1_S2_pct_count | gap_S1_S2_pct_mean | gap_S1_S2_pct_std | gap_S1_S2_pct_min | gap_S1_S2_pct_10% | gap_S1_S2_pct_50% | gap_S1_S2_pct_90% | gap_S1_S2_pct_max | gap_S1rt_S2_pct_count | gap_S1rt_S2_pct_mean | gap_S1rt_S2_pct_std | gap_S1rt_S2_pct_min | gap_S1rt_S2_pct_10% | gap_S1rt_S2_pct_50% | gap_S1rt_S2_pct_90% | gap_S1rt_S2_pct_max | new_ocgt_S0_count | new_ocgt_S0_mean | new_ocgt_S0_std | new_ocgt_S0_min | new_ocgt_S0_10% | new_ocgt_S0_50% | new_ocgt_S0_90% | new_ocgt_S0_max | new_ocgt_S2_count | new_ocgt_S2_mean | new_ocgt_S2_std | new_ocgt_S2_min | new_ocgt_S2_10% | new_ocgt_S2_50% | new_ocgt_S2_90% | new_ocgt_S2_max
Gansu | 20 | 19.592 | 5.983 | 8.785 | 9.543 | 21.229 | 24.802 | 29.091 | 20 | 19.196 | 5.806 | 8.742 | 9.412 | 20.793 | 24.293 | 28.105 | 20 | 0.512 | 0.587 | 0.047 | 0.079 | 0.33 | 1 | 2.657 | 20 | -1.544 | 2.485 | -7.774 | -4.565 | -0.142 | 0.426 | 0.569 | 20 | 0.766 | 0.697 | 0.032 | 0.234 | 0.481 | 1.503 | 2.628 | 20 | 0.118 | 0.112 | 0.022 | 0.034 | 0.087 | 0.202 | 0.518 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Guizhou | 20 | 18.259 | 6.947 | 10.071 | 10.835 | 17.416 | 27.05 | 28.22 | 20 | 16.895 | 6.673 | 9.345 | 9.658 | 15.666 | 25.768 | 25.991 | 20 | 1.708 | 0.704 | 0.807 | 0.936 | 1.625 | 2.536 | 3.419 | 20 | 0.253 | 0.186 | -0.169 | -0.017 | 0.28 | 0.412 | 0.534 | 20 | 1.325 | 0.799 | 0.435 | 0.665 | 1.195 | 1.9 | 3.998 | 20 | 0.464 | 0.275 | 0.091 | 0.177 | 0.412 | 0.783 | 1.08 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jiangsu | 20 | 18.329 | 6.705 | 9.001 | 10.286 | 19.31 | 26.704 | 27.158 | 20 | 17.767 | 6.57 | 8.998 | 10.009 | 18.044 | 25.923 | 26.305 | 20 | 0.706 | 0.479 | 0.003 | 0.235 | 0.678 | 1.146 | 2.023 | 20 | -3.289 | 8.396 | -36.07 | -7.205 | -0.165 | 0.236 | 0.337 | 20 | 1.131 | 0.811 | 0.093 | 0.3 | 0.933 | 2.37 | 2.964 | 20 | 0.189 | 0.16 | 0 | 0.03 | 0.146 | 0.349 | 0.586 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## S11
province | ext_mode | export | peak_adjusted | ai_share | case | inc_cost | new_ocgt | new_batt | curtail_NOAI | peak_2030
Gansu | price | FALSE | FALSE | 0.1 | S0 | 9391522.1073 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.1 | S0e | 8113526.8676 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.1 | S1 | 8157286.2178 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.1 | S1rt | 8110766.9942 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.1 | S2 | 8106915.9706 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.1 | S3 | 8157286.2178 | 0 | 0 | 0.024615 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S0 | 18494779.7096 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S0e | 15929656.3648 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S1 | 16017523.5732 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S1rt | 15924102.525 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S2 | 15917783.1418 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | FALSE | 0.2 | S3 | 16017523.5732 | 0 | 0 | 0.068378 | 24971.9157
Gansu | price | FALSE | TRUE | 0.1 | S0 | 8488611.3394 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.1 | S0e | 7340650.2172 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.1 | S1 | 7381484.2118 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.1 | S1rt | 7338515.2405 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.1 | S2 | 7336706.3543 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.1 | S3 | 7381484.2118 | 0 | 0 | 0.017166 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S0 | 16718273.493 | 0 | 0 | 0.052153 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S0e | 14414338.0248 | 0 | 0 | 0.052153 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S1 | 14497019.3742 | 0 | 0 | 0.052153 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S1rt | 14414250.3892 | 0 | 0 | 0.052153 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S2 | 14408208.1339 | 0 | 0 | 0.052153 | 22409.5491
Gansu | price | FALSE | TRUE | 0.2 | S3 | 14497019.3742 | 0 | 0 | 0.052153 | 22409.5491
Gansu | neighbours | TRUE | FALSE | 0.1 | S0 | 9578732.1835 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.1 | S0e | 8319780.6513 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.1 | S1 | 8357807.2219 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.1 | S1rt | 8311059.0226 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.1 | S2 | 8309365.3992 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.1 | S3 | 8357807.2219 | 0 | 0 | 0.0039656 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S0 | 19148256.087 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S0e | 16635459.4119 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S1 | 16713269.0034 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S1rt | 16616219.6996 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S2 | 16616144.7877 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | FALSE | 0.2 | S3 | 16713269.0034 | 0 | 0 | 0.0060078 | 24971.9157
Gansu | neighbours | TRUE | TRUE | 0.1 | S0 | 8597494.4908 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.1 | S0e | 7467709.6468 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.1 | S1 | 7501526.8516 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.1 | S1rt | 7458147.7492 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.1 | S2 | 7458067.9815 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.1 | S3 | 7501526.8516 | 0 | 0 | 0.0028208 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S0 | 17186950.2058 | 0 | 0 | 0.0054225 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S0e | 14931507.6651 | 0 | 0 | 0.0054225 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S1 | 15001276.1177 | 0 | 0 | 0.0054225 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S1rt | 14914691.3572 | 0 | 0 | 0.0054225 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S2 | 14914306.9929 | 0 | 0 | 0.0054225 | 22409.5491
Gansu | neighbours | TRUE | TRUE | 0.2 | S3 | 15001276.1177 | 0 | 0 | 0.0054225 | 22409.5491
Guizhou | price | FALSE | FALSE | 0.1 | S0 | 12737350.8046 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.1 | S0e | 10999515.5001 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.1 | S1 | 10959126.5077 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.1 | S1rt | 10882236.3791 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.1 | S2 | 10850799.5365 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.1 | S3 | 10962124.5262 | 0 | 0 | 0.306 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S0 | 25007942.8948 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S0e | 21243656.2974 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S1 | 21221538.9798 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S1rt | 21120170.853 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S2 | 20999480.9141 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | FALSE | 0.2 | S3 | 21221538.9798 | 0 | 0 | 0.43454 | 41946.452
Guizhou | price | FALSE | TRUE | 0.1 | S0 | 12739893.5628 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.1 | S0e | 11054776.9382 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.1 | S1 | 11029002.178 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.1 | S1rt | 10963722.7737 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.1 | S2 | 10931892.0014 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.1 | S3 | 11029002.178 | 0 | 0 | 0.25473 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S0 | 24696485.1869 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S0e | 21004844.1099 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S1 | 21051232.5067 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S1rt | 20941977.952 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S2 | 20834106.561 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | price | FALSE | TRUE | 0.2 | S3 | 21051232.5067 | 0 | 0 | 0.40119 | 38919.9447
Guizhou | neighbours | TRUE | FALSE | 0.1 | S0 | 15912303.9825 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.1 | S0e | 13822922.4601 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.1 | S1 | 13868324.5099 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.1 | S1rt | 13802506.4432 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.1 | S2 | 13800893.7505 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.1 | S3 | 13868324.5099 | 0 | 0 | 0.0010545 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S0 | 31796779.4181 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S0e | 27576531.0868 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S1 | 27673178.8498 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S1rt | 27541846.7425 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S2 | 27537909.9103 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | FALSE | 0.2 | S3 | 27673178.8498 | 0 | 0 | 0.0029973 | 41946.452
Guizhou | neighbours | TRUE | TRUE | 0.1 | S0 | 14827909.2177 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.1 | S0e | 12874985.6041 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.1 | S1 | 12919408.0296 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.1 | S1rt | 12860264.7158 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.1 | S2 | 12857138.6416 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.1 | S3 | 12919408.0296 | 0 | 0 | 0 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S0 | 29618173.0219 | 0 | 0 | 0.0012412 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S0e | 25683630.7579 | 0 | 0 | 0.0012412 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S1 | 25781296.487 | 0 | 0 | 0.0012412 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S1rt | 25653363.9213 | 0 | 0 | 0.0012412 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S2 | 25652338.5343 | 0 | 0 | 0.0012412 | 38919.9447
Guizhou | neighbours | TRUE | TRUE | 0.2 | S3 | 25781296.487 | 0 | 0 | 0.0012412 | 38919.9447

## S12a
province | system_cost_S1 | system_cost_S3 | system_cost_S1rt | system_cost_S2 | s3_saving_vs_S1 | s3_compensation_floor_own_baseline | s3_mean_commitment_mw | s1rt_saving_vs_S1 | gap_S1rt_S2_pct | system_cost_S0 | system_cost_S0e | system_cost_NOAI | n_events | ai_mwh_S1 | ai_mwh_S1rt
Gansu | 159260671.6925 | 159260671.6925 | 159214152.4689 | 159210301.4453 | 0 | 0 | 0 | 46519.2235 | 0.047503 | 160494907.582 | 159216912.3423 | 151103385.4747 | {'winter': 0, 'spring': 0, 'summer': 0, 'autumn': 0} | 300634.5764 | 299660.3693
Jiangsu | 550965701.744 | 551261128.9708 | 550685487.8134 | 550617326.952 | -295427.2268 | 459445.565 | 295.4664 | 280213.9306 | 0.13339 | 560080895.1419 | 550832372.7623 | 499516889.4513 | {'winter': 8, 'spring': 0, 'summer': 0, 'autumn': 0} | 1563792.7663 | 1555012.3843
Guizhou | 114426852.6493 | 114429850.6678 | 114349962.5207 | 114318525.6781 | -2998.0185 | 20236.5086 | 41.1655 | 76890.1286 | 0.28972 | 116205076.9462 | 114467241.6417 | 103467726.1416 | {'winter': 0, 'spring': 0, 'summer': 8, 'autumn': 0} | 505167.71 | 518678.1594

## S12b
province | week | n_events | commit_own_mw | comp_own | commit_inflated_mw | comp_inflated | inflated_minus_own_event_power_mw
Guizhou | summer | 8 | 164.6619 | 80946.0345 | 51.2624 | 16112.1204 | 689.9452
Jiangsu | winter | 8 | 1181.8658 | 1837782.2598 | 0 | 0 | 3708.7183