# Supplementary Information

From technical flexibility to realised power-system value in AI computing — v1.0, 15 September 2026

## S1. Data registry

| id | dataset | url | evidence_type | license | status | limits |
| --- | --- | --- | --- | --- | --- | --- |
| D01 | Emerald AI May 2025 experiment | https://github.com/ai-emerald/emerald-ai-demo-may-2025 | published_experimental_data | Apache-2.0 repository license | downloaded_reanalysed | GPU-only modes; timestamp/aggregate conflicts; no independent repeated runs or complete service logs |
| D02 | China 2018 provincial hourly load | https://doi.org/10.5281/zenodo.8322210 | reconstructed_historical_load | CC-BY-4.0 | checksums_verified_column_mapping_verified | daily-extrema typical-profile reconstruction; not current metered load |
| D03 | China interprovincial transmission | https://doi.org/10.5281/zenodo.8322210 | compiled_infrastructure | CC-BY-4.0 | quarantined_pending_asset_checks | sheet classifications reversed vs appendix; 3 matrix/list edge conflicts; aliases and endpoints unresolved |
| D04 | PyPSA-China model and assumptions | https://github.com/PyPSA/PyPSA-China | code_and_derived_inputs | MIT code; per-input licenses need checking | repository_downloaded_load_provenance_traced | load shares historical origin with D02; not independent validation; default future load scaled shape |
| D05 | Dunlap capacity-adequacy source model | https://github.com/ctdunlap32/data-center-flexibility-resource-adequacy | author_code_manuscript_processed_inputs | MIT code; upstream data licenses separate | method_inspected_not_reproduced | exogenous ELCC and partially unobserved assumptions; author manuscript is not Nature publication |
| D06 | Azure LLM inference trace 2024 | https://github.com/Azure/AzurePublicDataset/blob/master/AzureLLMInferenceDataset2024.md | production_request_metadata | CC-BY-4.0 | schema_license_release_sizes_inspected_not_downloaded | invocation and token lengths only; no deadlines or GPU power; code 692 MB, conversation 1135 MB |
| A01 | Two-block diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | not production workloads or grid results |
| A02 | Sequential-task diagnostic scenarios | local analysis | analyst_assumptions | original analysis | implemented_verified | uniform arrivals; assumed deadline and idle power; no grid or switching cost |
| D07 | BurstGPT release v2.0 part 1 | https://github.com/HPMLL/BurstGPT/releases/tag/v2.0 | production_request_metadata | CC-BY-4.0 | download_digest_verified_schema_and_hourly_audit_complete | no deadlines, elapsed time, request IDs or power; retain repeated metadata and zero-output records |
| D08 | PyPSA-China V3.0 selected archive members | https://doi.org/10.5281/zenodo.13987282 | published_model_inputs | CC-BY-4.0 record; verify upstream embedded sources before redistribution | member_crc_size_verified_and_inputs_audited | not a calibrated base year; source-model totals and official statistics differ; hydro leapday missing; reservoir subsystem separate |
| D09 | 2020 national power reliability annual report | https://prpq.nea.gov.cn/uploads/file1/20211009/616107fe94a8e.pdf | official_aggregate_reliability_statistics | public official report; reuse facts with attribution | PDF_obtained_three_tables_extracted_with_sum_checks | not chronological outage telemetry; unplanned/forced/availability metrics differ; unit-year exposure definitions require checking |
| D10 | DynamoLLM HPCA 2025 published experiment | https://jovans2.github.io/files/DynamoLLM_HPCA2025.pdf | published_experimental_methods_and_aggregate_tables | author-hosted paper; numeric facts attributed; no PDF redistribution planned | PDF_obtained_tables_and_methods_inspected | raw power/performance profiling dataset not obtained; cannot treat example SLOs as BurstGPT observed deadlines |
| A03 | Fixed commitment operational cost scenarios | local analysis | analyst_assumptions_with_measured_modes | original analysis | implemented_analytic_dual_and_convexity_checks_passed | assumed tariffs, arrivals, deadlines, idle power; no observed company costs or grid value |
| D11 | GEM Global Integrated Power Tracker July 2025 China subset | https://doi.org/10.5281/zenodo.16810831 | compiled_unit_phase_inventory | CC-BY-4.0 confirmed About sheet | download_checksum_verified_unit_ID_and_date_completeness_audited | tracking thresholds, unknown dates, conversions and historical retired coverage require reconciliation; not complete official historical fleet |
| D12 | Alibaba PAI GPU cluster trace 2020 (NSDI 22) | https://github.com/alibaba/clusterdata/tree/master/cluster-trace-gpu-v2020 | production_job_task_instance_metadata_and_instance_average_sensors | CC-BY-4.0 (repository LICENSE) | downloaded_extracted_sha256_recorded_audit_in_progress | no deadlines, no power; plan_gpu is requested not used; wait = scheduling latency only; dates fake |
| D13 | SenseTime Helios GPU cluster traces (SC 21) | https://github.com/S-Lab-System-Group/HeliosData | production_slurm_job_metadata | see LICENSE.txt in release (Apache-2.0 text) | downloaded_sha256_verified_audit_complete | no power or utilisation; queue is observed scheduling wait not a deadline; 39% of GPU-hours in CANCELLED jobs |
| D14 | Microsoft Philly DL training trace (ATC 19) | https://github.com/msr-fiddle/philly-traces | production_job_log_and_per_minute_gpu_utilisation | CC-BY-4.0 (repository LICENSE) | downloaded_via_lfs_sha256_recorded_job_log_and_streamed_utilisation_audit_complete | 2017 hardware; per-GPU per-minute utilisation with variable columns (DST duplicate rows truncated to first 8 values); 68% of GPU-hours in Failed/Killed jobs; no deadlines |
| A04 | Region selection matrix | local analysis | screening_table_from_archive_and_official_inputs | original analysis | built | archive capacities unverified; Gansu large hydro absent from archive; Inner Mongolia grid split |
| A05 | Regional S0/S0b/S1/S2 smoke grid | local analysis | uncalibrated_regional_smoke_test | original analysis | pipeline_verified_results_not_empirical | unvalidated hourly load shape; archive capacities; placeholder tariff and external market; no unit commitment or coal minimum load |
| D15 | Jiangsu grid 2020-2022 T&D and retail tariff notice (苏发改价格发〔2020〕1183号) incl. industrial TOU table | https://www.njqxq.gov.cn/qxqrmzf/qxqfzhggj/202011/P020201111396651530459.pdf | official_tariff_document_scanned_pdf | public government document | pdf_saved_pages_read_values_transcribed | scanned images, transcribed by reading; 2021 effective date used for 2020 base year; market users pay market price + T&D |
| D16 | Gansu 2020-12 notice on retail tariff adjustment and TOU optimisation (policy interpretation page) | http://www.gansu.gov.cn/art/2020/12/3/art_10359_474921.html | official_policy_interpretation_web_page | public government page | mirror_page_fetched_values_transcribed | original gansu.gov.cn page returned HTTP 412 to fetch; mirror gsei.com.cn used; ratios not absolute prices |
| D17 | Guizhou TOU mechanism notice 黔发改价格〔2023〕481号 | https://fgw.guizhou.gov.cn/zwgk/zcwj/zcwj/202306/t20230628_80566840.html | official_notice_web_page | public government page | page_fetched_values_transcribed | 2023 rules used as nearest official structure; no 2020 Guizhou TOU document obtained; year mismatch flagged |
| A06 | GEM-based unit-level 2020/2030 fleets for Gansu, Jiangsu, Guizhou | local analysis of D11 | derived_unit_inventory | CC-BY-4.0 upstream | built_compared_with_archive | GEM size thresholds (lower bound vs official); unknown start years excluded; pre-construction listed separately |
| A07 | Provincial 2030 S0/S1/S2/S3 scenario runs | local analysis | public_data_scenario_with_documented_assumptions | original analysis | pipeline_run_results_labelled_scenario_not_calibrated | hourly load shape unvalidated (2018-derived); external-market proxy; committed-capacity must-run heuristic; RE existing = 2020 archive; no new coal; S3 event rule = >20% above weekly median marginal cost |
| D18 | MLPerf Training v4.0 AC power logs (Supermicro 8xH100, llama2_70b_lora) | https://github.com/mlcommons/training_results_v4.0/tree/main/smc-ac-power | published_benchmark_power_measurements | MLCommons results repository (Apache-2.0) | downloaded_parsed_idle_active_extracted | node-level incl. non-GPU components; benchmark workload; one run downloaded so far |
| D19 | Open-Meteo historical weather API (ERA5-based) hourly 2015-2024 at GEM wind/solar sites | https://archive-api.open-meteo.com/v1/archive | reanalysis_weather_free_api | CC-BY 4.0 (Open-Meteo; ERA5 Copernicus) | pulled_cached_converted_to_capacity_factors | simple power-curve and GHI conversions; level scaled to archive 2020 mean; not measured generation |

## S2. Model verification records

Joint planning–operation LP: see file checks (coupled_grid_compute_validation.json); reservoir cascade extension: see file checks (reservoir_coupling_validation.json); task model: 120 exhaustive assignment oracles and 256 diagnostic cases; commitment cost model: 72 frontiers, 360 points, dual/finite-difference checks.

## S3. GEM-based 2020 and 2030 fleets, three provinces (MW)

| province | type | mw_2020 | units_2020 | mw_2030_operating_plus_construction | units_2030 | mw_2030_preconstruction_announced |
| --- | --- | --- | --- | --- | --- | --- |
| Gansu | coal | 21630 | 61 | 33650 | 75 | 2000 |
| Gansu | oil/gas | 180 | 1 | 180 | 1 | 0 |
| Gansu | nuclear | 0 | 0 | 0 | 0 | 0 |
| Gansu | hydropower | 5514 | 34 | 8094 | 36 | 0 |
| Gansu | wind | 12798.4 | 111 | 28451.6 | 215 | 200 |
| Gansu | solar | 8632.1 | 286 | 24919.9 | 407 | 0 |
| Jiangsu | coal | 75804 | 199 | 92481 | 221 | 2700 |
| Jiangsu | oil/gas | 17542 | 73 | 24779 | 108 | 0 |
| Jiangsu | nuclear | 5490 | 5 | 9138 | 8 | 0 |
| Jiangsu | hydropower | 2600 | 3 | 3950 | 5 | 1200 |
| Jiangsu | wind | 13261.2 | 136 | 21955.2 | 179 | 0 |
| Jiangsu | solar | 9303.6 | 1283 | 11198 | 1301 | 0 |
| Guizhou | coal | 31860 | 75 | 41890 | 95 | 2210 |
| Guizhou | oil/gas | 0 | 0 | 0 | 0 | 0 |
| Guizhou | nuclear | 0 | 0 | 0 | 0 | 0 |
| Guizhou | hydropower | 16735 | 39 | 18235 | 40 | 0 |
| Guizhou | wind | 4807.5 | 95 | 6626.1 | 123 | 100 |
| Guizhou | solar | 9095 | 128 | 21149.5 | 236 | 0 |

## S4. Peak-load plausibility check

| province | anchored_2020_peak_MW | official_reference | reference_value_MW | status |
| --- | --- | --- | --- | --- |
| Jiangsu | 109828 | 2020 年夏季与冬季最高调度负荷均突破 1 亿千瓦（国网江苏，2021-01 报道） | >100000 | consistent in magnitude; exact value not obtained |
| Gansu | 19679 | 2021 年全网最大用电负荷 1766 万千瓦（北极星电力网转载） | 17660 | anchored 2020 peak exceeds 2021 official peak by ~11% |
| Guizhou | 31255 | 贵州电网统调负荷 2026-01 首次突破 3000 万千瓦（央广网）；2025 年底最高 2955.3 万千瓦 | <30000 in 2020 | anchored 2020 peak exceeds the 2026 record; 2020 peak must have been well below 31.3 GW |

## S5. Multi-year renewable profiles: site coverage and agreement with archive 2020 profiles

| province_tech | level_scale | corr_with_archive_2020 | top_site_capacity_share | n_operating_sites |
| --- | --- | --- | --- | --- |
| Gansu | solar | 0.955 | 0.936 | 0.254 |
| Gansu | wind | 1.16 | 0.66 | 0.303 |
| Guizhou | solar | 0.711 | 0.956 | 0.227 |
| Guizhou | wind | 2.391 | 0.954 | 0.266 |
| Jiangsu | solar | 0.973 | 0.967 | 0.274 |
| Jiangsu | wind | 0.901 | 0.805 | 0.305 |

## S6. 2030 scenario gaps, fixed-price exchange proxy

| province | export | ai_share | slack_mult | cost_S0 | cost_S1 | cost_S1rt | cost_S2 | cost_S3 | gap_S0_S2_pct | gap_S1_S2_pct | gap_S1rt_S2_pct | new_ocgt_S0 | new_ocgt_S2 | new_batt_S0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | False | 0.05 | 1 | 27.459 | 27.275 | 27.144 | 27.131 | 27.275 | 1.21 | 0.532 | 0.046 | 0 | 0 | -0 |
| Gansu | False | 0.05 | 3 | 27.459 | 27.248 | 26.969 | 26.952 | 27.248 | 1.882 | 1.097 | 0.064 | 0 | 0 | -0 |
| Gansu | False | 0.1 | 1 | 27.313 | 27.082 | 27.027 | 26.993 | 27.082 | 1.184 | 0.33 | 0.125 | 0 | 0 | -0 |
| Gansu | False | 0.1 | 3 | 27.313 | 27.006 | 26.906 | 26.837 | 27.006 | 1.772 | 0.631 | 0.257 | 0 | 0 | -0 |
| Gansu | False | 0.2 | 1 | 26.797 | 26.47 | 26.422 | 26.41 | 26.47 | 1.463 | 0.225 | 0.043 | 0 | 0 | 0 |
| Gansu | False | 0.2 | 3 | 26.797 | 26.322 | 26.36 | 26.265 | 26.322 | 2.024 | 0.216 | 0.36 | 0 | 0 | 0 |
| Gansu | True | 0.05 | 1 | 29.604 | 29.499 | 29.513 | 29.504 | 29.499 | 0.337 | -0.019 | 0.028 | 0 | 0 | -0 |
| Gansu | True | 0.05 | 3 | 29.604 | 29.521 | 29.485 | 29.48 | 29.521 | 0.421 | 0.138 | 0.019 | 0 | 0 | -0 |
| Gansu | True | 0.1 | 1 | 29.583 | 29.483 | 29.518 | 29.506 | 29.483 | 0.263 | -0.077 | 0.04 | 0 | 0 | -0 |
| Gansu | True | 0.1 | 3 | 29.583 | 29.497 | 29.481 | 29.478 | 29.497 | 0.357 | 0.066 | 0.01 | 0 | 0 | -0 |
| Gansu | True | 0.2 | 1 | 29.549 | 29.459 | 29.485 | 29.481 | 29.459 | 0.232 | -0.075 | 0.015 | 0 | 0 | -0 |
| Gansu | True | 0.2 | 3 | 29.549 | 29.466 | 29.459 | 29.453 | 29.466 | 0.328 | 0.047 | 0.023 | 0 | 0 | -0 |
| Guizhou | False | 0.05 | 1 | 21.642 | 21.188 | 20.105 | 20.11 | 21.174 | 7.615 | 5.36 | -0.024 | 0 | 0 | -0 |
| Guizhou | False | 0.05 | 3 | 21.642 | 21.525 | 19.77 | 19.651 | 21.457 | 10.132 | 9.54 | 0.607 | 0 | 0 | -0 |
| Guizhou | False | 0.1 | 1 | 21.504 | 20.841 | 19.971 | 19.936 | 20.817 | 7.863 | 4.539 | 0.176 | 0 | 0 | -0 |
| Guizhou | False | 0.1 | 3 | 21.504 | 21.094 | 19.643 | 19.43 | 20.616 | 10.67 | 8.562 | 1.095 | 0 | 0 | -0 |
| Guizhou | False | 0.2 | 1 | 21.109 | 20.103 | 19.611 | 19.476 | 20.103 | 8.386 | 3.22 | 0.692 | 0 | 0 | -0 |
| Guizhou | False | 0.2 | 3 | 21.109 | 20.13 | 19.224 | 18.977 | 19.838 | 11.235 | 6.074 | 1.302 | 0 | 0 | -0 |
| Guizhou | True | 0.05 | 1 | 28.58 | 28.508 | 28.531 | 28.528 | 28.508 | 0.183 | -0.072 | 0.01 | 0 | 0 | 0 |
| Guizhou | True | 0.05 | 3 | 28.58 | 28.517 | 28.532 | 28.532 | 28.517 | 0.171 | -0.053 | 0.002 | 0 | 0 | 0 |
| Guizhou | True | 0.1 | 1 | 28.314 | 28.224 | 28.244 | 28.236 | 28.224 | 0.275 | -0.04 | 0.031 | 0 | 0 | 0 |
| Guizhou | True | 0.1 | 3 | 28.314 | 28.227 | 28.243 | 28.239 | 28.227 | 0.263 | -0.044 | 0.014 | 0 | 0 | 0 |
| Guizhou | True | 0.2 | 1 | 27.783 | 27.657 | 27.653 | 27.651 | 27.657 | 0.479 | 0.024 | 0.01 | 0 | 0 | 0 |
| Guizhou | True | 0.2 | 3 | 27.783 | 27.628 | 27.623 | 27.62 | 27.628 | 0.59 | 0.028 | 0.012 | 0 | 0 | 0 |
| Jiangsu | False | 0.05 | 1 | 32.385 | 31.654 | 31.683 | 31.608 | 31.667 | 2.457 | 0.145 | 0.235 | 0 | 0 | -0 |
| Jiangsu | False | 0.05 | 3 | 32.385 | 31.486 | 31.46 | 31.386 | 31.484 | 3.183 | 0.317 | 0.234 | 0 | 0 | -0 |
| Jiangsu | False | 0.1 | 1 | 33.817 | 32.56 | 32.583 | 32.512 | 32.569 | 4.012 | 0.145 | 0.218 | 0 | 0 | 165.982 |
| Jiangsu | False | 0.1 | 3 | 33.817 | 32.208 | 32.231 | 32.068 | 32.198 | 5.452 | 0.435 | 0.507 | 0 | 0 | 165.982 |
| Jiangsu | False | 0.2 | 1 | 39.328 | 37.964 | 36.199 | 35.467 | 37.795 | 10.888 | 7.041 | 2.063 | 8517.51 | 1102.72 | 1950.31 |
| Jiangsu | False | 0.2 | 3 | 39.328 | 34.793 | 35.143 | 34.074 | 34.846 | 15.421 | 2.111 | 3.138 | 8517.51 | 0 | 1950.31 |
| Jiangsu | True | 0.05 | 1 | 29.907 | 29.801 | 29.812 | 29.804 | 29.801 | 0.347 | -0.007 | 0.03 | 0 | 0 | -0 |
| Jiangsu | True | 0.05 | 3 | 29.907 | 29.781 | 29.787 | 29.772 | 29.781 | 0.455 | 0.032 | 0.051 | 0 | 0 | -0 |
| Jiangsu | True | 0.1 | 1 | 30.174 | 30.025 | 30.028 | 30.018 | 30.025 | 0.519 | 0.023 | 0.031 | 0 | 0 | -0 |
| Jiangsu | True | 0.1 | 3 | 30.174 | 29.988 | 29.986 | 29.965 | 29.988 | 0.696 | 0.074 | 0.07 | 0 | 0 | -0 |
| Jiangsu | True | 0.2 | 1 | 30.523 | 30.373 | 30.366 | 30.355 | 30.373 | 0.554 | 0.06 | 0.037 | 0 | 0 | -0 |
| Jiangsu | True | 0.2 | 3 | 30.523 | 30.305 | 30.308 | 30.284 | 30.305 | 0.791 | 0.071 | 0.079 | 0 | 0 | -0 |

## S7. 2030 scenario gaps, neighbour-aggregate exchange node

| province | export | ai_share | slack_mult | cost_S0 | cost_S1 | cost_S1rt | cost_S2 | gap_S0_S2_pct | gap_S1_S2_pct | gap_S1rt_S2_pct |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | False | 0.05 | 1 | 27.459 | 27.275 | 27.144 | 27.131 | 1.21 | 0.532 | 0.046 |
| Gansu | False | 0.05 | 3 | 27.459 | 27.248 | 26.969 | 26.952 | 1.882 | 1.097 | 0.064 |
| Gansu | False | 0.1 | 1 | 27.313 | 27.082 | 27.027 | 26.993 | 1.184 | 0.33 | 0.125 |
| Gansu | False | 0.1 | 3 | 27.313 | 27.006 | 26.906 | 26.837 | 1.772 | 0.631 | 0.257 |
| Gansu | False | 0.2 | 1 | 26.797 | 26.47 | 26.422 | 26.41 | 1.463 | 0.225 | 0.043 |
| Gansu | False | 0.2 | 3 | 26.797 | 26.322 | 26.36 | 26.265 | 2.024 | 0.216 | 0.36 |
| Gansu | True | 0.05 | 1 | 27.875 | 27.765 | 27.648 | 27.647 | 0.827 | 0.427 | 0.003 |
| Gansu | True | 0.05 | 3 | 27.875 | 27.826 | 27.614 | 27.613 | 0.949 | 0.771 | 0.002 |
| Gansu | True | 0.1 | 1 | 27.87 | 27.758 | 27.64 | 27.639 | 0.835 | 0.428 | 0.001 |
| Gansu | True | 0.1 | 3 | 27.87 | 27.818 | 27.611 | 27.607 | 0.952 | 0.764 | 0.013 |
| Gansu | True | 0.2 | 1 | 27.863 | 27.738 | 27.636 | 27.631 | 0.839 | 0.388 | 0.016 |
| Gansu | True | 0.2 | 3 | 27.863 | 27.797 | 27.631 | 27.621 | 0.878 | 0.641 | 0.037 |
| Guizhou | False | 0.05 | 1 | 21.642 | 21.188 | 20.105 | 20.102 | 7.661 | 5.406 | 0.019 |
| Guizhou | False | 0.05 | 3 | 21.642 | 21.525 | 19.77 | 19.648 | 10.149 | 9.557 | 0.622 |
| Guizhou | False | 0.1 | 1 | 21.504 | 20.841 | 19.971 | 19.925 | 7.92 | 4.594 | 0.228 |
| Guizhou | False | 0.1 | 3 | 21.504 | 21.094 | 19.643 | 19.437 | 10.632 | 8.525 | 1.06 |
| Guizhou | False | 0.2 | 1 | 21.109 | 20.103 | 19.611 | 19.469 | 8.428 | 3.26 | 0.731 |
| Guizhou | False | 0.2 | 3 | 21.109 | 20.13 | 19.224 | 18.983 | 11.202 | 6.042 | 1.272 |
| Guizhou | True | 0.05 | 1 | 27.449 | 27.393 | 27.352 | 27.35 | 0.36 | 0.156 | 0.007 |
| Guizhou | True | 0.05 | 3 | 27.449 | 27.454 | 27.304 | 27.302 | 0.539 | 0.557 | 0.008 |
| Guizhou | True | 0.1 | 1 | 27.442 | 27.367 | 27.332 | 27.329 | 0.416 | 0.142 | 0.014 |
| Guizhou | True | 0.1 | 3 | 27.442 | 27.414 | 27.273 | 27.26 | 0.669 | 0.564 | 0.047 |
| Guizhou | True | 0.2 | 1 | 27.417 | 27.294 | 27.282 | 27.277 | 0.512 | 0.061 | 0.019 |
| Guizhou | True | 0.2 | 3 | 27.417 | 27.316 | 27.209 | 27.195 | 0.817 | 0.445 | 0.055 |
| Jiangsu | False | 0.05 | 1 | 32.385 | 31.654 | 31.683 | 31.608 | 2.457 | 0.145 | 0.235 |
| Jiangsu | False | 0.05 | 3 | 32.385 | 31.486 | 31.46 | 31.386 | 3.183 | 0.317 | 0.234 |
| Jiangsu | False | 0.1 | 1 | 33.817 | 32.56 | 32.583 | 32.512 | 4.012 | 0.145 | 0.218 |
| Jiangsu | False | 0.1 | 3 | 33.817 | 32.208 | 32.231 | 32.068 | 5.452 | 0.435 | 0.507 |
| Jiangsu | False | 0.2 | 1 | 39.328 | 37.964 | 36.199 | 35.467 | 10.888 | 7.041 | 2.063 |
| Jiangsu | False | 0.2 | 3 | 39.328 | 34.793 | 35.143 | 34.074 | 15.421 | 2.111 | 3.138 |
| Jiangsu | True | 0.05 | 1 | 28.301 | 28.281 | 28.28 | 28.278 | 0.081 | 0.011 | 0.008 |
| Jiangsu | True | 0.05 | 3 | 28.301 | 28.278 | 28.277 | 28.276 | 0.09 | 0.009 | 0.006 |
| Jiangsu | True | 0.1 | 1 | 28.339 | 28.31 | 28.311 | 28.309 | 0.104 | 0.003 | 0.004 |
| Jiangsu | True | 0.1 | 3 | 28.339 | 28.303 | 28.303 | 28.3 | 0.136 | 0.011 | 0.011 |
| Jiangsu | True | 0.2 | 1 | 28.419 | 28.374 | 28.376 | 28.374 | 0.16 | 0 | 0.008 |
| Jiangsu | True | 0.2 | 3 | 28.419 | 28.36 | 28.36 | 28.354 | 0.23 | 0.021 | 0.021 |

## S8. Multi-weather-year summary (constrained exchange, AI 10%)

| province | idle | g02_min | g02_med | g02_max | g12_med | g12_max | grt_max | curt_min | curt_max |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | 0.25 | 1.35 | 2.78 | 4.76 | 1.15 | 2.89 | 0.37 | 0.04 | 0.1 |
| Gansu | 0.41 | 1.01 | 2.06 | 3.36 | 1 | 2.13 | 0.2 | 0.04 | 0.1 |
| Guizhou | 0.25 | 5.11 | 6.98 | 8.73 | 3.59 | 5.07 | 0.61 | 0.12 | 0.32 |
| Guizhou | 0.41 | 3.75 | 5.58 | 5.9 | 2.85 | 3.41 | 0.22 | 0.19 | 0.32 |
| Jiangsu | 0.25 | 1.66 | 2.53 | 3.88 | 0.37 | 1.01 | 0.33 | -0 | 0 |
| Jiangsu | 0.41 | 1.56 | 2.19 | 3.54 | 0.27 | 0.77 | 0.14 | -0 | 0 |

## S9. Cost-parameter Monte Carlo summary

| Unnamed: 0 | gap_S0_S2_pct | gap_S0_S2_pct.1 | gap_S0_S2_pct.2 | gap_S0_S2_pct.3 | gap_S0_S2_pct.4 | gap_S0_S2_pct.5 | gap_S0_S2_pct.6 | gap_S0_S2_pct.7 | gap_S1_S2_pct | gap_S1_S2_pct.1 | gap_S1_S2_pct.2 | gap_S1_S2_pct.3 | gap_S1_S2_pct.4 | gap_S1_S2_pct.5 | gap_S1_S2_pct.6 | gap_S1_S2_pct.7 | gap_S1rt_S2_pct | gap_S1rt_S2_pct.1 | gap_S1rt_S2_pct.2 | gap_S1rt_S2_pct.3 | gap_S1rt_S2_pct.4 | gap_S1rt_S2_pct.5 | gap_S1rt_S2_pct.6 | gap_S1rt_S2_pct.7 | new_ocgt_S0 | new_ocgt_S0.1 | new_ocgt_S0.2 | new_ocgt_S0.3 | new_ocgt_S0.4 | new_ocgt_S0.5 | new_ocgt_S0.6 | new_ocgt_S0.7 | new_ocgt_S2 | new_ocgt_S2.1 | new_ocgt_S2.2 | new_ocgt_S2.3 | new_ocgt_S2.4 | new_ocgt_S2.5 | new_ocgt_S2.6 | new_ocgt_S2.7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| nan | count | mean | std | min | 10% | 50% | 90% | max | count | mean | std | min | 10% | 50% | 90% | max | count | mean | std | min | 10% | 50% | 90% | max | count | mean | std | min | 10% | 50% | 90% | max | count | mean | std | min | 10% | 50% | 90% | max |
| province | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan | nan |
| Gansu | 16.0 | 2.58 | 1.88 | 0.6 | 0.95 | 1.94 | 4.82 | 7.82 | 16.0 | 1.13 | 1.01 | 0.13 | 0.25 | 0.64 | 2.65 | 3.34 | 16.0 | 0.23 | 0.16 | 0.04 | 0.07 | 0.18 | 0.4 | 0.63 | 16.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Guizhou | 15.0 | 9.09 | 4.12 | 5.06 | 5.11 | 6.54 | 14.9 | 16.3 | 15.0 | 4.93 | 2.34 | 2.37 | 2.61 | 3.64 | 8.33 | 8.59 | 15.0 | 0.28 | 0.44 | -0.27 | -0.16 | 0.25 | 0.82 | 1.28 | 15.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Jiangsu | 20.0 | 4.3 | 2.65 | 0.01 | 1.42 | 4.43 | 8.04 | 10.0 | 20.0 | 0.66 | 0.5 | 0.0 | 0.11 | 0.57 | 1.54 | 1.75 | 20.0 | 0.32 | 0.24 | 0.0 | 0.03 | 0.3 | 0.59 | 0.91 | 20.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 20.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

## S10. Mechanism v2

| province | system_cost_S1 | system_cost_S3 | system_cost_S1rt | system_cost_S2 | s3_saving_vs_S1 | s3_compensation_floor_own_baseline | s3_mean_commitment_mw | s1rt_saving_vs_S1 | gap_S1rt_S2_pct | ai_mwh_S1 | ai_mwh_S1rt |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gansu | 1.57963e+08 | 1.57963e+08 | 1.57879e+08 | 1.57871e+08 | 0 | 0 | 0 | 83867.8 | 0.121 | 253627 | 251043 |
| Jiangsu | 5.42674e+08 | 5.42687e+08 | 5.41997e+08 | 5.41905e+08 | -12921.7 | 0 | 0 | 677169 | 0.218 | 1.32549e+06 | 1.30375e+06 |
| Guizhou | 1.12379e+08 | 1.12378e+08 | 1.12198e+08 | 1.12147e+08 | 1326.84 | 12638.4 | 40.778 | 180485 | 0.596 | 427586 | 437173 |

| province | week | n_events | commit_own_mw | comp_own | commit_inflated_mw | comp_inflated | inflated_minus_own_event_power_mw |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Guizhou | summer | 8 | 163.114 | 50553.8 | 76.385 | 53347.5 | 614.401 |
| Jiangsu | winter | 8 | 0 | 0 | 0 | 0 | 3336.81 |